## Copyright
| 2020 | Version 1.2.1 Revised October 26, 2022
NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® | All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs.
© 2019, 2020, 2021 Home Innovation Research Labs, Inc.
To start work on the verification report click on the Instructions tab below for general instructions.
Then click on the appropriate tab for scoring or verification.

## Instructions
| 2020 | Version 1.2.1 Revised October 26, 2022
NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® | All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs. © 2019, 2020, 2021 Home Innovation Research Labs, Inc.
Instructions for Scoring and Verifying Land Developments
Overview
• Both new and existing development may be certified to the NGBS. Either can be certified as a whole or in phases
• As an option, developers may obtain a Letter of Approval from Home Innovation after design review but before development work begins. The Letter of Approval indicates that the development is eligible for certification if constructed in accordance with the approved plan.
• Certification is issued once development work is completed and all green practices have been successfully verified
Developer Instructions
1. Scoring –
a. Obtain a copy of the ICC 700 National Green Building Standard (2020 version) at www.builderbooks.com. This provides additional context beyond what is included in the NGBS Green Scoring Tool.
www.builderbooks.com
b. Within the “Start Here” worksheet, identify the name of the Development and describe the certification request (e.g., entire completed development; Phases X, Y, and Z of the development).
c. Within the “Scoring” worksheet, score the development to the NGBS.
i. Scoring can be done with the support of an NGBS Green Verifier. ii. Record points for each practice pursued. iii. Note: Existing development may not be able to achieve higher levels of certification if green features have been covered up or are otherwise unable to be verified. Please indicate on the “Scoring” worksheet if certification is being pursued by a completed development. iv. Where “Info Required” includes text, provide the information requested in the “Developer Notes/Comments” column. v. Review “Documentation Required,” as this column identifies the items required for verification.
2. Hire a Verifier – Identify an accredited NGBS Green Verifier to register the development and provide verification services
www.HomeInnovation.com/FindNGBSVerifier
3. Verification Sign-Off – After each verification stage (i.e., Letter of Approval or Final), sign the Signature Page.
Verifier Instructions
1. Scoring – In partnership with the development team, complete the “Scoring” worksheet to reflect green practices pursued. Include a brief description of the development within the “Description” field on the “Start Here” worksheet.
2. Registration – Register the project.
3. Verification Notification – Notify Home Innovation of the first verification visit/review as soon as it is scheduled. If multiple visits are required, include the first date on the inspection notification.
4. Letter of Approval Verification (optional) – Review plans and other documentation to confirm that selected green practices are reflected. Award points on the “Letter of Approval Verification” worksheet. When completing the review, assume that construction will follow the plans. Include any explanatory notes in the “Verifier Notes/Comments” column. Where an explanation is required, the cell will flag yellow. Notes provided by the developer will appear in the right-hand column for reference.
5. Final Verification – Perform on-site verification and documentation review. Multiple visits may be required during construction to award some practices. Award points using the “Completed Dev. Verification” worksheet. For each item, include the verification date in the “Verification Date(s)” column. Include any explanatory notes in the “Verifier Notes/Comments” column. Where an explanation is required, the cell will flag yellow. Notes provided by the developer will appear in the right-hand column for reference.
6. Submission of Verification Packet (for either Letter of Approval or Certification) – submit completed verification report, copy of signed signature pages, and copy of the development plans (general layout is sufficient) to Home Innovation. At completion, please also include a photo of the main entrance of the development.

## Start Here
|  | 2020 | Version 1.2.1 Revised October 26, 2022
NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® |  | All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs. © 2019, 2020, 2021 Home Innovation Research Labs, Inc.
DEVELOPER SCORING REPORT - LAND DEVELOPMENT
Project ID:
Developer/Applicant:
Location (with Zip Code) of the Development:
Community Name:
Phase(s) or Section(s) Proposed for Certification:
Project Status:
Performance Level Points
| One Star | Two Stars | Three Stars | Four Stars
| 95 | 122 | 149 | 176
TARGET LEVEL of CERTIFICATION:
Provide a brief description below of the development (acres/lots/general description, existing/new, completion date, etc):

## Scoring
Pending |  |  | 2020 |  | All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs. © 2019, 2020, 2021 Home Innovation Research Labs, Inc.
|  | NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® |  |  | Developer Scoring Report - Land Development |  | Version 1.2.1 Revised October 26, 2022
|  | Community Name: |  |  |  | Project Status:
|  | Total Points: | 116 |  |  | Level Achieved: | 1 STAR
| Practice # | Green Building Practices | Points Available | Points Claimed | Documentation Required | Info Required | Developer Notes/Comments
400 SITE DESIGN AND DEVELOPMENT
| 400.0 | 400.0 Intent. This section applies to land development for the eventual construction of buildings or additions thereto that contain dwelling units/sleeping units. The rating earned under Section 302 based on practices herein, applies only to the site as defined in Chapter 2. The buildings on the site achieve a separate rating level or designation by complying with the provisions of Section 303, 304, 305, or 306, as applicable.
401 LOT SELECTION
| 401.0 | 401.0 Intent. The site is selected to minimize environmental impact by one or more of the following:
| 401.1 | 401.1 Infill site. An infill site is selected. | 7 |  | Statement of why the site is an infill site. | Explain Infill status:
| 401.2 | 401.2 Greyfield site. A greyfield site is selected. | 7 |  | Statement of why the site meets the NGBS definition of greyfield. | Explain Greyfield status:
| 401.3 | 401.3 Brownfield site. A brownfield site is selected. | 8 |  | EPA map or local gov’t documentation that site is classified as brownfield. Accept documentation and note source. | Documentation source:
402 PROJECT TEAM, MISSION STATEMENT AND GOALS
| 402.0 | 402.0 Intent. The site is designed and constructed by a team of qualified professionals trained in green development practices.
| 402.1 | 402.1 Team. A knowledgeable team is established and team member roles are identified with respect to green lot design, preparation, and development. The project’s green goals and objectives are written into a mission statement. | 4 |  | Mission statement, written team member roles, and specific green responsibility assignments. | List team members:
| 402.2 | 402.2 Training. Training is provided to on-site supervisors and team members regarding the green development practices to be used on the project. | 3 |  | Written description of training and training schedule for green development practices.
| 402.3 | 402.3 Project checklist. A checklist of green development practices to be used on the project is created, followed, and completed by the project team regarding the site. | Mandatory 4 |  | Green development practice checklist and current status.
| 402.4 | 402.4 Development agreements. Through a developer agreement or equivalent, the developer requires purchasers of lots to construct the buildings in compliance with this Standard (or equivalent) certified to a minimum bronze rating level. | 6 |  | Developer Agreement or Equivalent. | Describe Agreement:
403 SITE DESIGN
| 403.0 | 403.0 Intent. The project is designed to avoid detrimental environmental impacts, minimize any unavoidable impacts, and mitigate for those impacts that do occur. The project is designed to minimize environmental impacts and to protect, restore, and enhance the natural features and environmental quality of the site. [To acquire points allocated for the design, the intent of the design is implemented.]
| 403.1 | 403.1 Natural resources. Natural resources are conserved by one or more of the following:
| 403.1(1) | (1) A natural resources inventory is used to create the site plan. | Mandatory 5 |  | Natural resources inventory for this site. | List top 3 priority resources to preserve:
| 403.1(2) | (2) A plan to protect and maintain priority natural resources/areas during construction is created. (Also see Section 404 for guidance in forming the plan.) | Mandatory 5 |  | Natural resources protection and maintenance plan.
| 403.1(3) | (3) Member of builder’s project team participates in a natural resources conservation program. | 4 |  | List of team members, program name, and nature of their involvement. | Describe participation:
| 403.1(4) | (4) Streets, buildings, and other built features are located to conserve high priority vegetation. | 5 |  | Site plan showing location of high priority vegetation and locations of proposed improvements.
| 403.1(5) | (5) Developer has a plan for removal or containment of invasive plants, as identified by a qualified professional, from the disturbed areas of the site. | 3 |  | Site plan showing removal or containment of invasive species. | Identify Name/Company and Main Concern:
| 403.1(6) | (6) Developer has a plan for removal or containment of invasive plants, as identified by a qualified professional, on the undisturbed areas of the site. | 6 |  | Site plan showing removal or containment of invasive species. | Identify Name/Company and Main Concern:
| 403.2 | 403.2 Building orientation. A minimum of 75 percent of the building sites are designed with the longer dimension of the structure to face within 20 degrees of south | 6 |  | Identify on the site plan all building sites where the longer dimension of the structure will be within 20 degrees of south.
| 403.3 | 403.3 Slope disturbance. Slope disturbance is minimized by one or more of the following:
| 403.3(1) | (1) Hydrological/soil stability study is completed and used to guide the design of all buildings on the site. | 5 |  | Completed hydrological/soil stability study. | Steep slope / hydrological study done by:
| 403.3(2) | (2) All or a percentage of roads are aligned with natural topography to reduce cut and fill.
| 403.3(2)(a) | (a) 10 percent to 25 percent | 1 |  | Engineer's statement or report indicating the percent of roads aligned with natural topography that reduce cut and fill by at least 10% over other alternatives providing a similar number of lots. | Describe nature and extent of slope on total site and steps taken to minimize disturbance: | j
| 403.3(2)(b) | (b) 25 percent to 75 percent | 4
| 403.3(2)(c) | (c) greater than 75 percent | 6
| 403.3(3) | (3) Long-term erosion effects are reduced by the use of clustering, terracing, retaining walls, landscaping, and restabilization techniques. | 6 |  | Site plan showing erosion control techniques. | Describe steps taken to reduce erosion:
| 403.4 | 403.4 Soil disturbance and erosion. A site Stormwater Pollution Prevention Plan (SWPPP) is developed in accordance with applicable stormwater Construction General Permits. The plan includes one or more of the following:
| 403.4(1) | (1) Construction activities are scheduled to minimize length of time that soils are exposed. | 4 |  | Scheduling documentation showing steps taken to minimize soil exposure. | Describe steps taken to minimize exposure:
| 403.4(2) | (2) Utilities are installed by alternate means such as directional boring in lieu of open-cut trenching. Shared easements or common utility trenches are utilized to minimize earth disturbance. Low ground pressure equipment or temporary matting is used to minimize excessive soil consolidation. | 5 |  | Utility construction plans showing boring, common utility trenches, and/or shared easements needed to reduce soil disruption and erosion. Scope of work of utility contractors requiring measures to minimize excessive soil compaction. | Describe alternate utility approaches taken:
| 403.4(3) | (3) Limits of clearing and grading are demarcated. | 4 |  | Site specific development plan showing limits of clearing and grading.
| 403.5 | 403.5 Stormwater management. The stormwater management system is designed to use low-impact development/green infrastructure practices to preserve, restore or mitigate changes in site hydrology due to land disturbance and the construction of impermeable surfaces through the use of one or more of the following techniques:
| 403.5(1) | (1) A site assessment is conducted and a plan prepared and implemented that identifies important existing permeable soils, natural drainage ways and other water features, e.g., depressional storage, onsite to be preserved in order to maintain site hydrology. | 7 |  | Site specific development plan showing how natural water and drainage features are preserved and used. | Describe natural features used for stormwater management:
| 403.5(2) | (2) A hydrologic analysis is conducted that results in the design and installation of a stormwater management system that maintains the predevelopment (stable, natural) runoff hydrology of the site through the development or redevelopment process. Ensure that post construction runoff rate, volume and duration do not exceed predevelopment rates, volume and duration. | 10 | 10 | Site specific stormwater management plan that minimizes concentrated flows and uses vegetative swales, French drains, wetlands, drywells, rain gardens and/or other similar features.
| 403.5(3) | (3) Low-Impact Development/Green infrastructure stormwater management practices to promote infiltration and evapotranspiration are used to manage rainfall on the lot and prevent the off-lot discharge of runoff from all storms up to and including the volume of following storm events:
| 403.5(3)(a) | (a) 80th percentile storm event | 5 |  | Stormwater Management Plan with engineer's calculation for 80th, 90th, or 95th percentile storm. | Developer's calculated % of permeable materials used:
| 403.5(3)(b) | (b) 90th percentile storm event | 8
| 403.5(3)(c) | (c) 95th percentile storm event | 10
| 403.5(4) | (4) Permeable materials are used for driveways, parking areas, walkways and patios according to the following percentages: [Points for vegetative paving systems are only awarded for location receiving more than 20 inches per year of annual average precipitation]
| 403.5(4)(a) | (a) 10 percent to less than 25 percent (add 2 points for use of vegetative paving system) | 2 |  | Site specific development plan delineating areas of roads, driveways, parking areas, walkways, and patios. Includes identification of all locations of permeable materials & type. Includes calculation showing percentage of permeable materials used. | Developer's calculated % of permeable materials used:
| 403.5(4)(b) | (b) 25-50 percent (add 4 points for use of vegetative paving system) | 5
| 403.5(4)(c) | (c) greater than 50 percent (add 6 points for use of vegetative paving system) | 10
| 403.6 | 403.6 Landscape plan. A landscape plan is developed to limit water and energy use in common areas while preserving or enhancing the natural environment utilizing one or more of the following:
| 403.6(1) | (1) A plan is formulated to restore or enhance natural vegetation that is cleared during construction. Landscaping is phased to coincide with achievement of final grades to ensure denuded areas are quickly vegetated. | 6 |  | Site specific landscaping plan identifies areas to be restored/enhanced. Evidence that landscaping is scheduled to occur reasonably soon after achievement of final site grades. | Describe landscape plans including extent of areas to be landscaped:
| 403.6(2) | (2) On-site native or regionally appropriate trees and shrubs are conserved, maintained, and reused for landscaping to the greatest extent possible. | 6 |  | Site specific landscaping plan that indicates which trees and/or vegetation are conserved or to be re-used.
| 403.6(3) | (3) Non–invasive vegetation that is native or regionally appropriate for local growing conditions is selected to promote biodiversity. | 7 |  | Site specific landscaping plan specifying native/regionally appropriate grass, trees, & other vegetation to be used.
| 403.6(4) | (4) EPA WaterSense Water Budget Tool or equivalent is used when implementing the site vegetative design. | 10 |  | Completed EPA WaterSense Water Budget Tool (Excel or PDF).
| 403.6(5) | (5) Where turf is being planted, Turfgrass Water Conservation Alliance (TWCA) or equivalent third-party qualified water efficient grasses are used. | 6 |  | Evidence that TWCA or equivalent grasses were selected and installed.
| 403.6(6) | (6) For landscaped vegetated areas, the maximum percentage of all turf areas is:
| 403.6(6)(a) | (a) 0 percent | 10 |  | Calculated total of turf areas as a percentage of the entire landscaped area of the site development or WaterSense Budget Tool | Developer's calculated % of turf area =
| 403.6(6)(b) | (b) Greater than 0 percent to less than 20 percent | 8
| 403.6(6)(c) | (c) 20 percent to less than 40 percent | 6
| 403.6(6)(d) | (d) 40 percent to 60 percent | 4
| 403.6(7) | (7) To improve pollinator habitat, at least 10 percent of planted areas are composed of flowering and nectar producing plant species. Invasive plant species shall not be utilized. | 6 |  | Plan with locations/types of plants, showing flowering and nectar producing species.
| 403.6(8) | (8) Non-potable irrigation water is available to common areas | 2 |  | None.
| 403.6(9) | (9) Non-potable irrigation water is available to lots. | 4 |  | None.
| 403.6(10) | (10) Plants with similar watering needs are grouped (hydrozoning). | 4 |  | Plan with locations/types of plants, showing that plants are grouped based on watering needs.
| 403.6(11) | (11) Species and locations for tree planting are identified and utilized to increase summer shading of streets, parking areas, and buildings and to moderate temperatures. | 5 |  | Plan with locations and species of trees intended to provide summer shading of streets, parking areas and buildings.
| 403.6(12) | (12) Vegetative wind breaks or channels are designed as appropriate to local conditions. | 4 |  | Site specific landscaping plan showing the location of vegetative wind breaks.
| 403.6(13) | (13) On-site tree trimmings or stump grinding of regionally appropriate trees are used to provide protective mulch during construction or as base for walking trails, and cleared trees are recycled as sawn lumber or pulp wood.' | 4 |  | Construction and Demolition Plan for this development that indicates how and when tree trimmings and other clearing debris will be re-used.
| 403.6(14) | (14) An integrated common area pest management plan to minimize chemical use in pesticides and fertilizers is developed. | 4 |  | Documented pest management plan minimizing use of pesticides & fertilizers to control pests and unwanted vegetation.
| 403.6(15) | (15) Plans for the common area landscape watering system include a weather-based or soil moisture-based controller. Required irrigation systems are designed in accordance with the IA Landscape Irrigation Best Management Practices. | 6 |  | Plans/documentation for watering system per the practice designed per the Irrigation Association’s Turf and Landscape Best Management Practices.
| 403.6(16) | (16) Trees that might otherwise be lost due to site construction are transplanted to other areas on-site or off-site using tree-transplanting techniques to ensure a high rate of survival. | 4 |  | Site Construction plan showing trees to be transplanted and techniques.
| 403.6(17) | (17) Gray water irrigation systems are used to water common areas. Gray water used for irrigation conforms to all criteria of Section 802.1. | 7 |  | Irrigation Plan showing gray water distribution areas.
| 403.6(18) | (18) Cisterns, rain barrels, and similar tanks are designed to intercept and store runoff. These systems may be above or below ground, and they may drain by gravity or be pumped. Stored water may be slowly released to a pervious area, and/or used for irrigation of lawn, trees, and gardens located in common areas. | 6 |  | Site plan showing the locations of the wate collection devices or sytems.
| 403.6(19) | (19) Spray irrigation
| 403.6(19)(a) | (a) Is not present on slopes steeper than 25% (i.e., where the land rises more than a foot vertically for every 4 feet horizontally). | 2 |  | Irrigation plan or other documentation showing installation locations and product specifications of irrigation systems. | Describe irrigation system:
| 403.6(19)(b) | (b) Has been tested in accordance with the ASABE/ICC 802, “Landscape Irrigation Sprinkler and Emitter Standard” and there is documentation of the sprinklers achieving a lower quarter distribution uniformity of at least 0.65. | 2
| 403.6(19)(c) | (c) Is installed to eliminate low head/point drainage and runoff. | 2
| 403.6(19)(d) | (d) Spray irrigation is not used | 6 |  | None.
| 403.7 | 403.7 Wildlife habitat. Measures are planned that will support wildlife habitat.
| 403.7(1) | (1) Measures are planned that will support wildlife habitat. | 6 |  | Documentation in the site development plans for the location and type of wildlife habitat support measures. | Describe steps taken to support wildlife:
| 403.7(2) | (2) The site is adjacent to a wildlife corridor, fish and game park, or preserved areas and is designed with regard for this relationship. | 3
| 403.7(3) | (3) Outdoor lighting techniques are utilized with regard for wildlife. | 3 |  | Documentation showing outdoor lighting plan with regard to wildlife.
| 403.8 | 403.8 Operation and maintenance plan. An operation and maintenance plan (manual) is prepared and outlines ongoing service of common open area, utilities (storm water, waste water), and environmental management activities. | 6 |  | Operation and maintenance manual. | Describe extent of plan and who has responsibility for the ongoing implementation:
| 403.9 | 403.9 Existing buildings. Following mitigation of any harmful materials, existing building(s) and structure(s) is/are preserved and reused, adapted, or disassembled for reuse or recycling of building materials.
| 403.9(1) | (1) Building reuse or adaptation. | 12 |  | Site development plan identifying all existing buildings and structures that are to be preserved, re-used, modified, or disassembled for re-use or recycling of bldg materials. | Describe existing structures that have been reused:
| 403.9(2) | (2) Disassemble for reuse or recycling of building materials. | 10
| 403.10 | 403.10 Existing and recycled materials. Existing pavements, curbs, and aggregates are salvaged and reincorporated into the development or recycled asphalt or concrete materials are used as follows. (Points awarded for every 10 percent of total building materials that are reused, deconstructed, and/or salvaged. The percentage is consistently calculated on a weight, volume, or cost basis.) 15 points MAX
| 403.10(1) | (1) Existing pavements, curbs, and aggregates are reincorporated into the development. | 3 |  | (15 points MAX) Tabulation of all existing or recycled pavement, curbs, asphalt, concrete, and aggregates salvaged or reincorporated as a percentage of the project total for all pavements, curbs, and aggregates. The percentage of each type of materials can be combined; the percentage should be rounded down to the nearest 10% to determine the points.
| 403.10(2) | (2) Recycled asphalt or concrete with at least 50 percent recycled content is utilized in the project. | 2
| 403.11 | 403.11 A demolition waste management plan is developed, posted at the jobsite, and implemented to recycle and/or salvage for reuse a minimum of 50 percent of the nonhazardous demolition waste. [One additional point awarded for every 10 percent of nonhazardous demolition waste recycled and/or salvaged beyond 50 percent.]
|  | (One additional point awarded for every 10 percent of nonhazardous demolition waste recycled and/or salvaged beyond 50 percent). | 5 10 max | 10 | Demolition wate management plan showing reuse of at least 50% of nonhazardous demolition waste.
| 403.12 | 403.12 Environmentally sensitive areas. Environmentally sensitive areas as follows:
| 403.12(1) | (1) Environmentally sensitive areas are avoided as follows:
| 403.12(1)(a) | (a) <25 percent of environmentally sensitive areas left undeveloped | 2 |  | Site plan showing locations/description of environmentally sensitive areas to be avoided. | Describe size/type of area avoided:
| 403.12(1)(b) | (b) 25 percent – 75 percent of environmentally sensitive areas left undeveloped | 4
| 403.12(1)(c) | (c) >75 percent of environmentally sensitive areas left undeveloped | 7
| 403.12(2) | (2) Compromised environmentally sensitive areas are mitigated or restored. | 10 | 10 | Plan showing locations of compromised environmentally sensitive areas that have been mitigated or restored. Before and after photos.
404 SITE DEVELOPMENT AND CONSTRUCTION
| 404.0 | 404.0 Intent. Environmental impact during construction is avoided to the extent possible; impacts that do occur are minimized, and any significant impacts are mitigated.
| 404.1 | 404.1 On-site supervision and coordination. On-site supervision and coordination is provided during clearing, grading, trenching, paving, and installation of utilities to ensure that specified green development practices are implemented. (also see Section 403.4) | 5 |  | Daily log showing consistency of on-site supervision. | Supervisor's name:
| 404.2 | 404.2 Trees and vegetation. Designated trees and vegetation are preserved by one or more of the following:
| 404.2(1) | (1) Fencing or equivalent is installed to protect trees and other vegetation. | 4 |  | None | Describe steps taken:
| 404.2(2) | (2) Trenching, significant changes in grade, compaction of soil, and other activities are avoided in critical root zones (canopy drip line) in “tree save” areas. | 5 |  | None | Describe steps taken:
| 404.2(3) | (3) Damage to designated existing trees and vegetation is mitigated during construction through pruning, root pruning, fertilizing, and watering. | 4 |  | Pruning, root pruning, fertilizing, and watering invoices. | Describe steps taken:
| 404.3 | 404.3 Soil disturbance and erosion. On-site soil disturbance and erosion are minimized by implementation of one or more of the following:
| 404.3(1) | (1) Limits of clearing and grading are staked out prior to construction. | 5 |  | None
| 404.3(2) | (2) “No disturbance” zones are created using fencing or flagging to protect vegetation and sensitive areas from construction vehicles, material storage, and washout. | 4 |  | None
| 404.3(3) | (3) Sediment and erosion controls are installed and maintained. | 5 |  | Approved sediment and erosion control plan. | Describe steps taken:
| 404.3(4) | (4) Topsoil is stockpiled and covered with tarps, straw, mulch, chipped wood, vegetative cover, or other means capable of protecting it from erosion for later use to establish landscape plantings. | 5 |  | None
| 404.3(5) | (5) Soil compaction from construction equipment is reduced by distributing the weight of the equipment over a larger area by laying lightweight geogrids, mulch, chipped wood, plywood, OSB (oriented strand board), metal plates, or other materials capable of weight distribution in the pathway of the equipment | 4 |  | Scopes of work or contract documents that require soil compaction reducing measures on the site. | Describe steps taken to meet this practice:
| 404.3(6) | (6) Disturbed areas are stabilized within the EPA-recommended 14-day period. | 4 |  | Development schedule showing stabilization of disturbed areas within 14 days.
| 404.3(7) | (7) Soil is improved with organic amendments and mulch. | 4 |  | Scopes of work or contract documents that requires improving soil with organic amendments and mulch. | Describe steps taken:
| 404.4 | 404.4 Wildlife habitat. Measures are implemented to support wildlife habitat.
| 404.4(1) | (1) Wildlife habitat is maintained. | 5 |  | Site development plan showing habitat areas to be maintained. | Describe steps taken:
| 404.4(2) | (2) Measures are instituted to establish or promote wildlife habitat. | 5 |  | List of measures to be instituted to establish or promote wildlife habitat. | Describe steps taken:
| 404.4(3) | (3) Open space is preserved as part of a wildlife corridor. | 6 |  | Site development plan showing open space corridors to be preserved.
| 404.4(4) | (4) Builder or member of builder’s project team participates in a wildlife conservation program. | 5 |  | Documentation about team member’s participation in wildlife conservation programs. | List Team member(s) participating & program:
405 INNOVATIVE PRACTICES
| 405.0 | 405.0 Intent. Innovative site design, preparation, and development practices are used to enhance environmental performance. Waivers or variances from local development regulations are obtained, and innovative zoning practices are used to implement such practices, as applicable.
| 405.1 | 405.1 Driveways and parking areas. Driveways and parking areas are minimized or mitigated by one or more of the following:
| 405.1(1) | (1) Off-street parking areas are shared or driveways are shared; on-street parking is utilized; and alleys (shared common area driveways) are used for rear-loaded garages. | 5 |  | Site development plans showing shared driveways in single family areas and/or calculation showing parking provided for multi-family does not exceed local requirements. Plan shows location of structured parking.
| 405.1(2) | (2) In multifamily projects, parking capacity is not to exceed the local minimum requirements. | 5
| 405.1(3) | (3) Structured parking is utilized to reduce the footprint of surface parking areas.
| 405.1(3)(a) | (a) 25 percent to less than 50 percent reduction | 3 | 8 | Site development plans showing shared driveways in single family areas and/or calculation showing parking provided for multi-family does not exceed local requirements. Plan shows location of structured parking.
| 405.1(3)(b) | (b) 50 percent to 75 percent reduction | 5
| 405.1(3)(c) | (c) greater than 75 percent reduction | 8
| 405.2 | 405.2 Street widths.
| 405.2(1) | (1) Street pavement widths are minimized per local code and are in accordance with the table below: Collector street with parking (one side only) - 31 ft Collector street without parking - 26 ft Local access with parking (one side only) - 27 ft Local access street without parking - 20 ft Queuing (one-lane) streets with parking - 24 ft Alleys & queuing (one-lane) streets without parking-17ft For SI: 1 foot = 304.8 mm | 6 | 6 | Site development plan showing widths of collector streets, local access streets, & queuing streets with & without parking are consistent with maximum widths shown in table.
| 405.2(2) | (2) A waiver was secured by the developer from the local jurisdiction to allow for construction of streets below minimum width requirement. | 8 | 8 | Waiver from local jurisdiction.
| 405.3 | 405.3 Cluster development. Cluster development. Cluster development enables and encourages flexibility of design and development of land in such a manner as to preserve the natural and scenic qualities of the site by utilizing an alternative method for the layout, configuration and design of lots, buildings and structures, roads, utility lines and other infrastructure, parks, and landscaping. | 10 | 10 | Site plan with explanation of how the natural and scenic qualities were preserved.
| 405.4 | 405.4 Planning. Innovative zoning techniques are implemented in accordance with the following:
| 405.4(1) | (1) Innovative planning techniques are used or developed for permissible adjustments to population density, area, height, open space, mixed-use, or other provisions for the specific purpose of open space, natural resource preservation or protection and/or mass transit usage. Other innovative planning techniques may be considered on a case-by-case basis. | 10 | 10 | Evidence of development ordinance, waivers, or variances approved by the local jurisdiction. | Describe steps taken to meet this practice:
| 405.4(2) | (2) Provide common or public spaces of a minimum of 1/6 acre that are within ¼ mile walk to 80 percent of planned and existing units and entrances to non-residential buildings. Both existing and newly constructed squares, parks, paseos, plazas, and similar uses qualify under this criterion. | 10 | 10 | Statement and site plan from qualified professional that environmental effects were minimized and infrastructure is available and adequate. | Describe steps taken to meet this practice:
| 405.5 | 405.5 Wetlands. Constructed wetlands or other natural innovative wastewater or stormwater treatment technologies are used. | 8 | 8 | Plans showing constructed wetlands or other innovative wastewater technologies and documentation that a qualified contractor completed an approved installation. | Describe steps taken to meet this practice:
| 405.6 | 405.6 Multi-modal transportation. Multi-modal transportation access is provided in accordance with one or more of the following:
| 405.6(1) | (1) A site is selected with a boundary within one-half mile (805 m) of pedestrian access to a mass transit system or within five miles of a mass transit station with available parking. | 5 |  | Map that defines distance to pedestrian access to mass transit system or distance to nearest mass transit station with available parking. | List distance to mass transit and Name/type of mass transit
| 405.6(2) | (2) A site is selected where all lots within the site are located within one-half mile (805 m) of pedestrian access to a mass transit system. | 7
| 405.6(3) | (3) A system of walkways, bikeways, street crossings, or pathways designed to promote connectivity to existing and planned community amenities are provided.
| 405.6(3)(a) | (a) Create a network of sidewalks and paths that provide a minimum level of connectivity of at least 90 bikeway or pathway intersections per square mile. | 5 |  | Walkway and bikeway plan on site development plan and show connections to local area network.
| 405.6(3)(b) | (b) Create a network of sidewalks and paths that provide a minimum level of connectivity of at least 140 bikeway or pathway intersections per square mile. | 10 | 10
| 405.6(4) | (4) Dedicated bicycle parking and racks are indicated on the site plan and a minimum of six spaces are constructed for, multifamily buildings, and/or each developed common area. [*1 point for each 6 spaces] | 1 6 MAX |  | Site plan showing bike parking installations.
| 405.6(5) | (5) Bike sharing programs participate with the developer and facilities for bike sharing are planned for and constructed. | 5 |  | Evidence of particpation in sharing programs. | Name of sharing program(s):
| 405.6(6) | (6) Car sharing programs participate with the developer and facilities for bike sharing are planned for and constructed. | 5
| 405.6(7) | (7) A site is selected within a census block group that, compared to its region, has above-average transit access to employment as calculated using the Transit Access Measures within the EPA’s Smart Location Database:
| 405.6(7)(a) | (a) Access is within the top quartile for the region | 10 |  | Documentation from EPA Smart Location Database showing transit access quartile. | Describe transit access:
| 405.6(7)(b) | (b) Access is within the second quartile for the region | 4
| 405.6(8) | (8) A site is selected within a census block group that, compared to its region, has above-average access to employment within a 45-minute drive as calculated using EPA’s Smart Location Database:
| 405.6(8)(a) | (a) Access is within the top quartile for the region | 6 |  | Documentation from EPA Smart Location Database showing employment access quartile. | Describe employment opportunties:
| 405.6(8)(b) | (b) Access is within the second quartile for the region | 2
| 405.7 | 405.7 Density. The average density on a net developable area basis is:
| 405.7(a) | (1) 7 to less than 14 dwelling units per acre (per 4,047 m2) | 5 |  | Planner's calculation of density. | Net Developable Acres =
| 405.7(b) | (2) 14 to less than 21 dwelling units per acre (per 4,047 m2) | 7 |  |  | 0
| 405.7(c) | (3) 21 or greater dwelling units per acre (per 4,047 m2) | 10 |  |  | Dwelling Units:
| 405.8 | 405.8 Mixed-use development. (1) Mixed-use development is incorporated, or (2) for single-use sites 20 acres or less in size, 80% of the units are within ½ mile walk of 5 non-residential uses and where a system of walkways, bikeways, street crossings or pathways is designed to promote connectivity to those uses. | 9 |  | None.
| 405.9 | 405.9 Open space. The community is situated within 1/2 mile of an area of open space available to the public or a portion of the gross area of the community is set aside as open space. [Points awarded for every 10 percent of the community set aside as open space. If open space outside of the community is included, a maximum of 3 points are awarded.] | 9 MAX |  | Calculation showing percent of area set aside. | Total Community Acreage =
[6 empty] | 0 | Your selection doesn't match the square footage calculation for points
Qualifying Open Space Acreage =
| 405.10 | 405.10 Community garden(s). A portion of the site is established as a community garden(s) for the residents of the site to provide local food production for residents or area consumers.
| 405.10(a) | (a) A portion of the site of at least 250 sq ft is established as a community garden(s) for the residents of the site. [*1 point per 250 sq ft] | 1 Max 3 |  | Site plan showing designated area(s) for community garden.
| 405.10(b) | (b) Areas and physical provisions are provided for composting | 1 |  | None.
| 405.10(c) | (c) Signs designating the garden are posted | 1 |  | None.
| 405.11 | 405.11 The site is designed to mitigate hazards from insect born disease. [To acquire points the site must be documented to be at risk by an epidemiologist or qualified professional]
| 405.11(a) | (a) Dense plant beds, shrubbery and woody plants are not planted within 5 feet (1.5 m) of occupied buildings. | 6 | 6 | Site plan showing vegetation to be installed near buildings.
| 405.11(b) | (b) A minimum of a 5 foot (1.5 m) border of paving, mulch, bare earth, or turfgrass is provided between woods or weedy areas and people trafficked or occupied areas, including playgrounds and dog parks. | 5 | 5 | Site plan showing paving, mulch, bare earth, and/or turfgrass.
| 405.11(c) | (c) Vegetation that is attractive to deer, as documented by a qualified professional, is not planted within 20 feet (6 m) of buildings. | 3 |  | Site plan showing vegetation to be installed near buildings.
| 405.11(d) | (d) Paths or trails maintained through natural or non-maintained areas are a minimum of 5 feet wide (1.5 m). | 3 | 3 | Site plan showing planned paths and trails.
| 405.11(e) | (e) Conditions that are favorable to mosquito breeding, such as standing water, are not present on site. | 2 | 2 | None.
| 405.12 | 405.12 Signs are provided prohibiting smoking at the following locations:
| 405.12(a) | (a) Smoking is prohibited within 25 feet (7.5 m) of all building exterior doors and operable windows or building air intakes within 15 (4.5 m) vertical feet of grade or a walking surface. | 3 |  | None.
| 405.12(b) | (b) Smoking is prohibited in common areas unless otherwise designated as smoking areas. | 3 |  | None.
|  | Total Points Claimed: |  | 116
|  | Rating Level Achieved: |  | 1 STAR
Points away from a Rating Level:
|  | One Star: | Met
|  | Two Stars: | 6
|  | Three Stars: | 33
|  | Four Stars: | 60

## Letter of Approval Verification
Filters |  |  |  | 2020 |  |  | © 2019, 2020, 2021 Home Innovation Research Labs, Inc. All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs.
Pending | Points |  | NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® |  |  |  | VERIFICATION REPORT - LETTER OF DESIGN REVIEW APPROVAL |  |  |  | Version 1.2.1 Revised October 26, 2022
|  |  | Community Name: | [5 empty] | Project Status:
|  |  | Total Points: | 216 |  |  |  |  | Level Achieved: | 4 STARS
|  | Practice # | Green Building Practices | Points Available | Points Claimed | Points Awarded | Documentation Required | Instructions To Verifier | Info Required | Verifier Notes/Comments | Developer Notes/Comments
| X | 400 SITE DESIGN AND DEVELOPMENT
| X | 400.0 | 400.0 Intent. This section applies to land development for the eventual construction of buildings or additions thereto that contain dwelling units/sleeping units. The rating earned under Section 302 based on practices herein, applies only to the site as defined in Chapter 2. The buildings on the site achieve a separate rating level or designation by complying with the provisions of Section 303, 304, 305, or 306, as applicable.
| P | 401 LOT SELECTION
| X | 401.0 | 401.0 Intent. The site is selected to minimize environmental impact by one or more of the following:
| NP | 401.1 | 401.1 Infill site. An infill site is selected. | 7 | 0 |  | Statement of why the site is an infill site. |  | Explain Infill status:
| NP | 401.2 | 401.2 Greyfield site. A greyfield site is selected. | 7 | 0 |  | Statement of why the site meets the NGBS definition of greyfield. |  | Explain Greyfield status:
| NP | 401.3 | 401.3 Brownfield site. A brownfield site is selected. | 8 | 0 |  | EPA map or local gov’t documentation that site is classified as brownfield. Accept documentation and note source. |  | Documentation source:
| P | 402 PROJECT TEAM, MISSION STATEMENT AND GOALS
| X | 402.0 | 402.0 Intent. The site is designed and constructed by a team of qualified professionals trained in green development practices.
| NP | 402.1 | 402.1 Team. A knowledgeable team is established and team member roles are identified with respect to green lot design, preparation, and development. The project’s green goals and objectives are written into a mission statement. | 4 | 0 |  | Mission statement, written team member roles, and specific green responsibility assignments. |  | List team members:
| NP | 402.2 | 402.2 Training. Training is provided to on-site supervisors and team members regarding the green development practices to be used on the project. | 3 | 0 |  | Written description of training and training schedule for green development practices.
| NP | 402.3 | 402.3 Project checklist. A checklist of green development practices to be used on the project is created, followed, and completed by the project team regarding the site. | Mandatory 4 | 0 |  | Project team should have created green development practice checklist and it must reflect enough green practices for the community to achieve the desired NGBS Green Certification level.
| NP | 402.4 | 402.4 Development agreements. Through a developer agreement or equivalent, the developer requires purchasers of lots to construct the buildings in compliance with this Standard (or equivalent) certified to a minimum bronze rating level. | 6 | 0 |  | Developer Agreement or Equivalent. |  | Describe Agreement:
| P | 403 SITE DESIGN
| X | 403.0 | 403.0 Intent. The project is designed to avoid detrimental environmental impacts, minimize any unavoidable impacts, and mitigate for those impacts that do occur. The project is designed to minimize environmental impacts and to protect, restore, and enhance the natural features and environmental quality of the site. [To acquire points allocated for the design, the intent of the design is implemented.]
| NP | 403.1 | 403.1 Natural resources. Natural resources are conserved by one or more of the following:
| NP | 403.1(1) | (1) A natural resources inventory is used to create the site plan. | Mandatory 5 | 0 |  | Natural resources inventory for the site must be provided for Letter of Approval or certification. Confirm natural resources inventory used in site plan creation. Confirm inventory was done by a qualified professional and note name/company in notes column along with top 3 resources |  | List top 3 priority resources to preserve:
| NP | 403.1(2) | (2) A plan to protect and maintain priority natural resources/areas during construction is created. (Also see Section 404 for guidance in forming the plan.) | Mandatory 5 | 0 |  | Natural resources protection and maintenance plan must be provided for Letter of Approval or certification.
| NP | 403.1(3) | (3) Member of builder’s project team participates in a natural resources conservation program. | 4 | 0 |  | List of team members, program name, and their level of participation. Verify team members are participating. |  | Describe participation:
| NP | 403.1(4) | (4) Streets, buildings, and other built features are located to conserve high priority vegetation. | 5 | 0 |  | Site plan showing location of high priority vegetation and locations of proposed improvements. Verify via plan review that proposed improvements are sited to conserve high priority vegetation.
| NP | 403.1(5) | (5) Developer has a plan for removal or containment of invasive plants, as identified by a qualified professional, from the disturbed areas of the site. | 3 | 0 |  | Review plan for invasive plants and confirm invasive plants were identified by a qualified professional. Note name/company in notes column and the main invasive plants of concern. |  | Identify Name/Company and Main Concern:”
| NP | 403.1(6) | (6) Developer has a plan for removal or containment of invasive plants, as identified by a qualified professional, on the undisturbed areas of the site. | 6 | 0 |  | Review plan for invasive plants and confirm invasive plants were identified by a qualified professional. Note name/company in notes column and the main invasive plants of concern. |  | Identify Name/Company and Main Concern:
| NP | 403.2 | 403.2 Building orientation. A minimum of 75 percent of the building sites are designed with the longer dimension of the structure to face within 20 degrees of south | 6 | 0 |  | Identify on the site plan all building sites where the longer dimension of the structure will be within 20 degrees of south. Verify via plan review at least 75% of all building sites will provide southern exposure for structures.
| NP | 403.3 | 403.3 Slope disturbance. Slope disturbance is minimized by one or more of the following:
| NP | 403.3(1) | (1) Hydrological/soil stability study is completed and used to guide the design of all buildings on the site. | 5 | 0 |  | Review completed hydrological/soil stability study. Approve points if study is provided and recommendations have been incorporated in the plans. |  | Steep slope / hydrological study done by:
| NP | 403.3(2) | (2) All or a percentage of roads are aligned with natural topography to reduce cut and fill.
| NP | 403.3(2)(a) | (a) 10 percent to 25 percent | 1 | 0 |  | Engineer’s statement or report indicating the percent of roads aligned with natural topography that reduce cut and fill by at least 10% over other alternatives providing a similar number of lots. Verify by document review. |  | Describe nature and extent of slope on total site and steps taken to minimize disturbance: |  | j
| NP | 403.3(2)(b) | (b) 25 percent to 75 percent | 4
| NP | 403.3(2)(c) | (c) greater than 75 percent | 6
| NP | 403.3(3) | (3) Long-term erosion effects are reduced by the use of clustering, terracing, retaining walls, landscaping, and restabilization techniques. | 6 | 0 |  | Verify through site plan review that steps are planned to limit long term erosion. |  | Describe steps taken to reduce erosion:
| NP | 403.4 | 403.4 Soil disturbance and erosion. A site Stormwater Pollution Prevention Plan (SWPPP) is developed in accordance with applicable stormwater Construction General Permits. The plan includes one or more of the following:
| NP | 403.4(1) | (1) Construction activities are scheduled to minimize length of time that soils are exposed. | 4 | 0 |  | Review scheduling documentation that demonstrates steps taken to minimize soil exposure. Verify by field management interview that appropriate schedule is prepared. |  | Describe steps taken to minimize exposure:
| NP | 403.4(2) | (2) Utilities are installed by alternate means such as directional boring in lieu of open-cut trenching. Shared easements or common utility trenches are utilized to minimize earth disturbance. Low ground pressure equipment or temporary matting is used to minimize excessive soil consolidation. | 5 | 0 |  | Review utility construction plans showing boring, common utility trenches, and/or shared easements needed to reduce soil disruption and erosion. Review and verify scope of work of utility contractors requiring measures to minimize excessive soil compaction. Confirm utility construction plans show required utility consolidation. Confirm use of matting and low ground pressure equipment in contractor’s scope of work. |  | Describe alternate utility approaches taken:
| NP | 403.4(3) | (3) Limits of clearing and grading are demarcated. | 4 | 0 |  | Review site specific development plan showing limits of clearing and grading. Verify limits are on the plan.
| P | 403.5 | 403.5 Stormwater management. The stormwater management system is designed to use low-impact development/green infrastructure practices to preserve, restore or mitigate changes in site hydrology due to land disturbance and the construction of impermeable surfaces through the use of one or more of the following techniques:
| NP | 403.5(1) | (1) A site assessment is conducted and a plan prepared and implemented that identifies important existing permeable soils, natural drainage ways and other water features, e.g., depressional storage, onsite to be preserved in order to maintain site hydrology. | 7 | 0 |  | Site specific development plan showing how natural water and drainage features are preserved and used. |  | Describe natural features used for stormwater management:
| P | 403.5(2) | (2) A hydrologic analysis is conducted that results in the design and installation of a stormwater management system that maintains the predevelopment (stable, natural) runoff hydrology of the site through the development or redevelopment process. Ensure that post construction runoff rate, volume and duration do not exceed predevelopment rates, volume and duration. | 10 | 10 |  | A hydrological analysis based on a digital elevation model (DEM) raster data to establish a water system model, which is used to study the hydrological characteristics and simulation of surface hydrological process, and make a forecast for the surface hydrological situation in the future. Review the analysis to ensure that that post construction runoff rate, volume and duration do not exceed predevelopment rates, volume and duration.
| NP | 403.5(3) | (3) Low-Impact Development/Green infrastructure stormwater management practices to promote infiltration and evapotranspiration are used to manage rainfall on the lot and prevent the off-lot discharge of runoff from all storms up to and including the volume of following storm events:
| NP | 403.5(3)(a) | (a) 80th percentile storm event | 5 | 0 |  | Stormwater Management Plan with engineer's calculation for relevant percentile storm event depending on points claimed. | 0 | Developer's calculated % of permeable materials used: |  | 0%
| NP | 403.5(3)(b) | (b) 90th percentile storm event | 8
| NP | 403.5(3)(c) | (c) 95th percentile storm event | 10
| NP | 403.5(4) | (4) Permeable materials are used for driveways, parking areas, walkways and patios according to the following percentages: [Points for vegetative paving systems are only awarded for location receiving more than 20 inches per year of annual average precipitation]
| NP | 403.5(4)(a) | (a) 10 percent to less than 25 percent (add 2 points for use of vegetative paving system) | 2 | 0 |  | Site specific development plan delineating areas of roads, driveways, parking areas, walkways, and patios. Include identification of all locations of permeable materials & type. Include calculation showing percentage of permeable materials used. Review plans to verify calculation is appropriate. |  | Developer's calculated % of permeable materials used: |  | 0%
| NP | 403.5(4)(b) | (b) 25-50 percent (add 4 points for use of vegetative paving system) | 5
| NP | 403.5(4)(c) | (c) greater than 50 percent (add 6 points for use of vegetative paving system) | 10
| NP | 403.6 | 403.6 Landscape plan. A landscape plan is developed to limit water and energy use in common areas while preserving or enhancing the natural environment utilizing one or more of the following:
| NP | 403.6(1) | (1) A plan is formulated to restore or enhance natural vegetation that is cleared during construction. Landscaping is phased to coincide with achievement of final grades to ensure denuded areas are quickly vegetated. | 6 | 0 |  | Site specific landscaping plan identifies areas to be restored/enhanced. Evidence that landscaping is scheduled to occur reasonably soon after achievement of final site grades. |  | Describe landscape plans including extent of areas to be landscaped:
| NP | 403.6(2) | (2) On-site native or regionally appropriate trees and shrubs are conserved, maintained, and reused for landscaping to the greatest extent possible. | 6 | 0 |  | Site specific landscaping plan that indicates which trees and/or vegetation are conserved or to be re-used.
| NP | 403.6(3) | (3) Non–invasive vegetation that is native or regionally appropriate for local growing conditions is selected to promote biodiversity. | 7 | 0 |  | Site specific landscaping plan specifying native/regionally appropriate grass, trees, & other vegetation to be used.
| NP | 403.6(4) | (4) EPA WaterSense Water Budget Tool or equivalent is used when implementing the site vegetative design. | 10 | 0 |  | Review WaterSense Water Budget Tool file.
| NP | 403.6(5) | (5) Where turf is being planted, Turfgrass Water Conservation Alliance (TWCA) or equivalent third-party qualified water efficient grasses are used. | 6 | 0 |  | Confirm compliance of grasses being used via TWCA website and cross-checking that those grasses specified in landscape plan. List of TWCA grasses is available here.
| NP | 403.6(6) | (6) For landscaped vegetated areas, the maximum percentage of all turf areas is:
| NP | 403.6(6)(a) | (a) 0 percent | 10 | 0 |  | Calculation of total of turf areas as a percentage of the entire landscaped area of site development. |  | Developer's calculated % of turf area =
| NP | 403.6(6)(b) | (b) Greater than 0 percent to less than 20 percent | 8
| NP | 403.6(6)(c) | (c) 20 percent to less than 40 percent | 6
| NP | 403.6(6)(d) | (d) 40 percent to 60 percent | 4
| NP | 403.6(7) | (7) To improve pollinator habitat, at least 10 percent of planted areas are composed of flowering and nectar producing plant species. Invasive plant species shall not be utilized. | 6 | 0 |  | Site or landscape plan.
| NP | 403.6(8) | (8) Non-potable irrigation water is available to common areas | 2 | 0 |  | Site or landscape plan.
| NP | 403.6(9) | (9) Non-potable irrigation water is available to lots. | 4 | 0 |  | Site or landscape plan.
| NP | 403.6(10) | (10) Plants with similar watering needs are grouped (hydrozoning). | 4 | 0 |  | Landscape plan.
| NP | 403.6(11) | (11) Species and locations for tree planting are identified and utilized to increase summer shading of streets, parking areas, and buildings and to moderate temperatures. | 5 | 0 |  | Landscape plan.
| NP | 403.6(12) | (12) Vegetative wind breaks or channels are designed as appropriate to local conditions. | 4 | 0 |  | Landscape plan.
| NP | 403.6(13) | (13) On-site tree trimmings or stump grinding of regionally appropriate trees are used to provide protective mulch during construction or as base for walking trails, and cleared trees are recycled as sawn lumber or pulp wood. | 4 | 0 |  | Site or landscape plan.
| NP | 403.6(14) | (14) An integrated common area pest management plan to minimize chemical use in pesticides and fertilizers is developed. | 4 | 0 |  | Pest management plan.
| NP | 403.6(15) | (15) Plans for the common area landscape watering system include a weather-based or soil moisture-based controller. Required irrigation systems are designed in accordance with the IA Landscape Irrigation Best Management Practices. | 6 | 0 |  | Site plans showing irrigation systems.
| NP | 403.6(16) | (16) Trees that might otherwise be lost due to site construction are transplanted to other areas on-site or off-site using tree-transplanting techniques to ensure a high rate of survival. | 4 | 0 |  | Site or landscape plan.
| NP | 403.6(17) | (17) Gray water irrigation systems are used to water common areas. Gray water used for irrigation conforms to all criteria of Section 802.1. | 7 | 0 |  | Site plan.
| NP | 403.6(18) | (18) Cisterns, rain barrels, and similar tanks are designed to intercept and store runoff. These systems may be above or below ground, and they may drain by gravity or be pumped. Stored water may be slowly released to a pervious area, and/or used for irrigation of lawn, trees, and gardens located in common areas. | 6 | 0 |  | Site plan.
| NP | 403.6(19) | (19) Spray irrigation
| NP | 403.6(19)(a) | (a) Is not present on slopes steeper than 25% (i.e., where the land rises more than a foot vertically for every 4 feet horizontally). | 2 | 0 |  | Site or landscape plan. For (b) check manufacturer product specifications to see if spray irrigation is compliant. |  | Describe irrigation system:
| NP | 403.6(19)(b) | (b) Has been tested in accordance with the ASABE/ICC 802, “Landscape Irrigation Sprinkler and Emitter Standard” and there is documentation of the sprinklers achieving a lower quarter distribution uniformity of at least 0.65. | 2 | 0
| NP | 403.6(19)(c) | (c) Is installed to eliminate low head/point drainage and runoff. | 2 | 0
| NP | 403.6(19)(d) | (d) Spray irrigation is not used | 6 | 0 |  | None.
| NP | 403.7 | 403.7 Wildlife habitat. Measures are planned that will support wildlife habitat.
| NP | 403.7(1) | (1) Measures are planned that will support wildlife habitat. | 6 | 0 |  | Documentation in the site development plans for the location and type of wildlife habitat support measures. Plan review for the outdoor lighting techniques used that are wildlife friendly. |  | Describe steps taken to support wildlife:
| NP | 403.7(2) | (2) The site is adjacent to a wildlife corridor, fish and game park, or preserved areas and is designed with regard for this relationship. | 3 | 0
| NP | 403.7(3) | (3) Outdoor lighting techniques are utilized with regard for wildlife. | 3 | 0 |  | Documentation showing outdoor lighting plan with regard to wildlife.
| NP | 403.8 | 403.8 Operation and maintenance plan. An operation and maintenance plan (manual) is prepared and outlines ongoing service of common open area, utilities (storm water, waste water), and environmental management activities. | 6 | 0 |  | Operation and maintenance manual. |  | Describe extent of plan and who has responsibility for the ongoing implementation:
| NP | 403.9 | 403.9 Existing buildings. Following mitigation of any harmful materials, existing building(s) and structure(s) is/are preserved and reused, adapted, or disassembled for reuse or recycling of building materials.
| NP | 403.9(1) | (1) Building reuse or adaptation. | 12 | 0 |  | Site development plan identifying all existing buildings and structures that are to be preserved, re-used, modified, or disassembled for re-use or recycling of building materials. |  | Describe existing structures that have been reused:
| NP | 403.9(2) | (2) Disassemble for reuse or recycling of building materials. | 10 | 0
| NP | 403.10 | 403.10 Existing and recycled materials. Existing pavements, curbs, and aggregates are salvaged and reincorporated into the development or recycled asphalt or concrete materials are used as follows. (Points awarded for every 10 percent of total building materials that are reused, deconstructed, and/or salvaged. The percentage is consistently calculated on a weight, volume, or cost basis.) 15 points MAX
| NP | 403.10(1) | (1) Existing pavements, curbs, and aggregates are reincorporated into the development. | 3 | 0 |  | (15 points MAX) Tabulation of all existing or recycled pavement, curbs, asphalt, concrete, and aggregates salvaged or reincorporated as a percentage of the project total for all pavements, curbs, and aggregates. The percentage of each type of materials can be combined; the percentage should be rounded down to the nearest 10% to determine the points.
| NP | 403.10(2) | (2) Recycled asphalt or concrete with at least 50 percent recycled content is utilized in the project. | 2 | 0
| P | 403.11 | 403.11 A demolition waste management plan is developed, posted at the jobsite, and implemented to recycle and/or salvage for reuse a minimum of 50 percent of the nonhazardous demolition waste. [One additional point awarded for every 10 percent of nonhazardous demolition waste recycled and/or salvaged beyond 50 percent.]
| P |  | (One additional point awarded for every 10 percent of nonhazardous demolition waste recycled and/or salvaged beyond 50 percent). | 5 10 max | 10 |  | Demolition waste management plan.
| P | 403.12 | 403.12 Environmentally sensitive areas. Environmentally sensitive areas as follows:
| P | 403.12(1) | (1) Environmentally sensitive areas are avoided as follows:
| NP | 403.12(1)(a) | (a) <25 percent of environmentally sensitive areas left undeveloped | 2 | 0 |  | Site plan showing locations/description of environmentally sensitive areas to be avoided. Review plans to be sure points are appropriate for the points claimed. Points are not appropriate if there are no sensitive areas on the site. |  | Describe size/type of area avoided:
| NP | 403.12(1)(b) | (b) 25 percent – 75 percent of environmentally sensitive areas left undeveloped | 4
| NP | 403.12(1)(c) | (c) >75 percent of environmentally sensitive areas left undeveloped | 7
| P | 403.12(2) | (2) Compromised environmentally sensitive areas are mitigated or restored. | 10 | 10 |  | Plan showing locations of compromised environmentally sensitive areas that have been mitigated or restored. Verify by document review. The area and type of mitigation and restoration should be proportional to the size of the development and consistent with awarding 4 points for this practice. Points are not awarded for developer caused damage unless the restoration goes above and beyond minimum requirements.
| P | 404 SITE DEVELOPMENT AND CONSTRUCTION
| X | 404.0 | 404.0 Intent. Environmental impact during construction is avoided to the extent possible; impacts that do occur are minimized, and any significant impacts are mitigated.
| NP | 404.1 | 404.1 On-site supervision and coordination. On-site supervision and coordination is provided during clearing, grading, trenching, paving, and installation of utilities to ensure that specified green development practices are implemented. (also see Section 403.4) | 5 | 0 |  | Daily log showing consistency of on-site supervision. |  | Supervisor's name:
| NP | 404.2 | 404.2 Trees and vegetation. Designated trees and vegetation are preserved by one or more of the following:
| NP | 404.2(1) | (1) Fencing or equivalent is installed to protect trees and other vegetation. | 4 | 0 |  | Plans showing planned protection type & locations. |  | Describe steps taken:
| NP | 404.2(2) | (2) Trenching, significant changes in grade, compaction of soil, and other activities are avoided in critical root zones (canopy drip line) in “tree save” areas. | 5 | 0 |  | Plans showing planned protection type & locations. |  | Describe steps taken:
| NP | 404.2(3) | (3) Damage to designated existing trees and vegetation is mitigated during construction through pruning, root pruning, fertilizing, and watering. | 4 | 0 |  | Plans showing planned protection activities. |  | Describe steps taken:
| NP | 404.3 | 404.3 Soil disturbance and erosion. On-site soil disturbance and erosion are minimized by implementation of one or more of the following:
| NP | 404.3(1) | (1) Limits of clearing and grading are staked out prior to construction. | 5 | 0 |  | Schedule showing staking.
| NP | 404.3(2) | (2) “No disturbance” zones are created using fencing or flagging to protect vegetation and sensitive areas from construction vehicles, material storage, and washout. | 4 | 0 |  | Schedule showing flagging.
| NP | 404.3(3) | (3) Sediment and erosion controls are installed and maintained. | 5 | 0 |  | Approved sediment and erosion control plan & schedule showing installation. |  | Describe steps taken:
| NP | 404.3(4) | (4) Topsoil is stockpiled and covered with tarps, straw, mulch, chipped wood, vegetative cover, or other means capable of protecting it from erosion for later use to establish landscape plantings. | 5 | 0 |  | Plans showing stockpile location(s).
| NP | 404.3(5) | (5) Soil compaction from construction equipment is reduced by distributing the weight of the equipment over a larger area by laying lightweight geogrids, mulch, chipped wood, plywood, OSB (oriented strand board), metal plates, or other materials capable of weight distribution in the pathway of the equipment | 4 | 0 |  | Scopes of work or contract documents that require soil compaction reducing measures on the site. |  | Describe steps taken to meet this practice:
| NP | 404.3(6) | (6) Disturbed areas are stabilized within the EPA-recommended 14-day period. | 4 | 0 |  | Development schedule showing stabilization of disturbed areas within 14 days.
| NP | 404.3(7) | (7) Soil is improved with organic amendments and mulch. | 4 | 0 |  | Scopes of work or contract documents that requires improving soil with organic amendments and mulch. The amount of amendments should be consistent with good landscape practice. A soil analysis or landscape professional would typically be required to identify the most appropriate amendments. Amendments or mulch should be applied to at least 50% of the landscaped area. |  | Describe steps taken:
| NP | 404.4 | 404.4 Wildlife habitat. Measures are implemented to support wildlife habitat.
| NP | 404.4(1) | (1) Wildlife habitat is maintained. | 5 | 0 |  | Site development plan showing habitat areas to be maintained. |  | Describe steps taken:
| NP | 404.4(2) | (2) Measures are instituted to establish or promote wildlife habitat. | 5 | 0 |  | List of measures to be instituted to establish or promote wildlife habitat. |  | Describe steps taken:
| NP | 404.4(3) | (3) Open space is preserved as part of a wildlife corridor. | 6 | 0 |  | Site development plan showing open space corridors to be preserved.
| NP | 404.4(4) | (4) Builder or member of builder’s project team participates in a wildlife conservation program. | 5 | 0 |  | Documentation about team member’s participation in wildlife conservation programs. |  | List Team member(s) participating & program:
| P | 405 INNOVATIVE PRACTICES
| X | 405.0 | 405.0 Intent. Innovative site design, preparation, and development practices are used to enhance environmental performance. Waivers or variances from local development regulations are obtained, and innovative zoning practices are used to implement such practices, as applicable.
| P | 405.1 | 405.1 Driveways and parking areas. Driveways and parking areas are minimized or mitigated by one or more of the following:
| NP | 405.1(1) | (1) Off-street parking areas are shared or driveways are shared; on-street parking is utilized; and alleys (shared common area driveways) are used for rear-loaded garages. | 5 | 0 |  | Site development plans showing shared driveways in single-family areas and/or calculation showing parking provided for multifamily does not exceed local requirements.
| NP | 405.1(2) | (2) In multifamily projects, parking capacity is not to exceed the local minimum requirements. | 5 | 0
| P | 405.1(3) | (3) Structured parking is utilized to reduce the footprint of surface parking areas.
| P | 405.1(3)(a) | (a) 25 percent to less than 50 percent reduction | 3 | 8 |  | Plan shows location of structured parking.
| P | 405.1(3)(b) | (b) 50 percent to 75 percent reduction | 5
| P | 405.1(3)(c) | (c) greater than 75 percent reduction | 8
| P | 405.2 | 405.2 Street widths.
| P | 405.2(1) | (1) Street pavement widths are minimized per local code and are in accordance with the table below: Collector street with parking (one side only) - 31 ft Collector street without parking - 26 ft Local access with parking (one side only) - 27 ft Local access street without parking - 20 ft Queuing (one-lane) streets with parking - 24 ft Alleys & queuing (one-lane) streets without parking-17ft For SI: 1 foot = 304.8 mm | 6 | 6 |  | Site development plan showing widths of collector streets, local access streets, & queuing streets with & without parking are consistent with maximum widths shown in table.
| P | 405.2(2) | (2) A waiver was secured by the developer from the local jurisdiction to allow for construction of streets below minimum width requirement. | 8 | 8 |  | Waiver from local jurisdiction.
| P | 405.3 | 405.3 Cluster development. Cluster development. Cluster development enables and encourages flexibility of design and development of land in such a manner as to preserve the natural and scenic qualities of the site by utilizing an alternative method for the layout, configuration and design of lots, buildings and structures, roads, utility lines and other infrastructure, parks, and landscaping. | 10 | 10 |  | Site plan with explanation of how the natural and scenic qualities were preserved.
| P | 405.4 | 405.4 Planning. Innovative zoning techniques are implemented in accordance with the following:
| P | 405.4(1) | (1) Innovative planning techniques are used or developed for permissible adjustments to population density, area, height, open space, mixed-use, or other provisions for the specific purpose of open space, natural resource preservation or protection and/or mass transit usage. Other innovative planning techniques may be considered on a case-by-case basis. | 10 | 10 |  | Evidence of development ordinance, waivers, or variances approved by the local jurisdiction. |  | Describe steps taken to meet this practice:
| P | 405.4(2) | (2) Provide common or public spaces of a minimum of 1/6 acre that are within ¼ mile walk to 80 percent of planned and existing units and entrances to non-residential buildings. Both existing and newly constructed squares, parks, paseos, plazas, and similar uses qualify under this criterion. | 10 | 10 |  | Statement and site plan from qualified professional that environmental effects were minimized and infrastructure is available and adequate. |  | Describe steps taken to meet this practice:
| P | 405.5 | 405.5 Wetlands. Constructed wetlands or other natural innovative wastewater or stormwater treatment technologies are used. | 8 | 8 |  | Plans showing constructed wetlands or other innovative wastewater technologies and documentation that a qualified contractor completed an approved installation. |  | Describe steps taken to meet this practice:
| P | 405.6 | 405.6 Multi-modal transportation. Multi-modal transportation access is provided in accordance with one or more of the following:
| NP | 405.6(1) | (1) A site is selected with a boundary within one-half mile (805 m) of pedestrian access to a mass transit system or within five miles of a mass transit station with available parking. | 5 | 0 |  | Map that defines distance to pedestrian access to mass transit system or distance to nearest mass transit station with available parking. |  | List distance to mass transit and Name/type of mass transit
| NP | 405.6(2) | (2) A site is selected where all lots within the site are located within one-half mile (805 m) of pedestrian access to a mass transit system. | 7 | 0
| P | 405.6(3) | (3) A system of walkways, bikeways, street crossings, or pathways designed to promote connectivity to existing and planned community amenities are provided.
| NP | 405.6(3)(a) | (a) Create a network of sidewalks and paths that provide a minimum level of connectivity of at least 90 bikeway or pathway intersections per square mile. | 5 | 0 |  | Walkway and bikeway plan on site development plan and show connections to local area network.
| P | 405.6(3)(b) | (b) Create a network of sidewalks and paths that provide a minimum level of connectivity of at least 140 bikeway or pathway intersections per square mile. | 10 | 10
| NP | 405.6(4) | (4) Dedicated bicycle parking and racks are indicated on the site plan and a minimum of six spaces are constructed for, multifamily buildings, and/or each developed common area. [*1 point for each 6 spaces] | 1 6 MAX | 0 |  | Site plan showing bike parking installations.
| NP | 405.6(5) | (5) Bike sharing programs participate with the developer and facilities for bike sharing are planned for and constructed. | 5 | 0 |  | Evidence of particpation in sharing programs. |  | Name of sharing program(s):
| NP | 405.6(6) | (6) Car sharing programs participate with the developer and facilities for bike sharing are planned for and constructed. | 5 | 0
| NP | 405.6(7) | (7) A site is selected within a census block group that, compared to its region, has above-average transit access to employment as calculated using the Transit Access Measures within the EPA’s Smart Location Database:
| NP | 405.6(7)(a) | (a) Access is within the top quartile for the region | 10 | 0 |  | To calculate number of points, follow these steps: Open EPA Smart Location Database webpage. Click OPEN IN MAP VIEWER button on top right. Insert property address. Click CONTENT button on top left; make sure you have checked box for Transit Access Points. Click LEGEND (upper left) to show the map color legend. Map will appear with colors designating transit access. Use legend to determine how many points to award. |  | Describe transit access:
| NP | 405.6(7)(b) | (b) Access is within the second quartile for the region | 4 | 0
| NP | 405.6(8) | (8) A site is selected within a census block group that, compared to its region, has above-average access to employment within a 45-minute drive as calculated using EPA’s Smart Location Database:
| NP | 405.6(8)(a) | (a) Access is within the top quartile for the region | 6 | 0 |  | To calculate number of points, follow these steps: Open EPA Smart Location Database webpage. Click OPEN IN MAP VIEWER button on top right. Insert property address. Click CONTENT button on top left; make sure you have checked box for Driving Access Points. Click LEGEND (upper left) to show the map color legend. Map will appear with colors designating employment access. Use legend to determine how many points to award. |  | Describe employment opportunties:
| NP | 405.6(8)(b) | (b) Access is within the second quartile for the region | 2 | 0
| NP | 405.7 | 405.7 Density. The average density on a net developable area basis is:
| NP | 405.7(a) | (1) 7 to less than 14 dwelling units per acre (per 4,047 m2) | 5 | 0 |  | Calculation of density. See NGBS definition of net developable area. |  | Net Developable Acres = |  | 0
| NP | 405.7(b) | (2) 14 to less than 21 dwelling units per acre (per 4,047 m2) | 7 |  |  |  |  | 0
| NP | 405.7(c) | (3) 21 or greater dwelling units per acre (per 4,047 m2) | 10 |  |  |  |  | Dwelling Units: |  | 0
| NP | 405.8 | 405.8 Mixed-use development. (1) Mixed-use development is incorporated, or (2) for single-use sites 20 acres or less in size, 80% of the units are within ½ mile walk of 5 non-residential uses and where a system of walkways, bikeways, street crossings or pathways is designed to promote connectivity to those uses. | 9 | 0 |  | Site plan.
| NP | 405.9 | 405.9 Open space. The community is situated within 1/2 mile of an area of open space available to the public or a portion of the gross area of the community is set aside as open space. [Points awarded for every 10 percent of the community set aside as open space. If open space outside of the community is included, a maximum of 3 points are awarded.] | 9 MAX | 0 |  | Site plan and calculation of set aside area. |  | Total Community Acreage = |  | 0
| NP | [7 empty] | 0 |  | Your selection doesn't match the square footage calculation for points
| NP | [7 empty] | Qualifying Open Space Acreage = |  | 0
| NP | 405.10 | 405.10 Community garden(s). A portion of the site is established as a community garden(s) for the residents of the site to provide local food production for residents or area consumers.
| NP | 405.10(a) | (a) A portion of the site of at least 250 sq ft is established as a community garden(s) for the residents of the site. [*1 point per 250 sq ft] | 1 Max 3 | 0 |  | Site plan.
| NP | 405.10(b) | (b) Areas and physical provisions are provided for composting | 1 | 0
| NP | 405.10(c) | (c) Signs designating the garden are posted | 1 | 0
| P | 405.11 | 405.11 The site is designed to mitigate hazards from insect born disease. [To acquire points the site must be documented to be at risk by an epidemiologist or qualified professional]
| P | 405.11(a) | (a) Dense plant beds, shrubbery and woody plants are not planted within 5 feet (1.5 m) of occupied buildings. | 6 | 6 |  | Site plan showing vegetation to be installed near buildings.
| P | 405.11(b) | (b) A minimum of a 5 foot (1.5 m) border of paving, mulch, bare earth, or turfgrass is provided between woods or weedy areas and people trafficked or occupied areas, including playgrounds and dog parks. | 5 | 5 |  | Site plan showing paving, mulch, bare earth, and/or turfgrass.
| NP | 405.11(c) | (c) Vegetation that is attractive to deer, as documented by a qualified professional, is not planted within 20 feet (6 m) of buildings. | 3 | 0 |  | Site plan showing vegetation to be installed near buildings.
| P | 405.11(d) | (d) Paths or trails maintained through natural or non-maintained areas are a minimum of 5 feet wide (1.5 m). | 3 | 3 |  | Site plan showing planned paths and trails.
| P | 405.11(e) | (e) Conditions that are favorable to mosquito breeding, such as standing water, are not present on site. | 2 | 2 |  | None.
| P | 405.12 | 405.12 Signs are provided prohibiting smoking at the following locations:
| P | 405.12(a) | (a) Smoking is prohibited within 25 feet (7.5 m) of all building exterior doors and operable windows or building air intakes within 15 (4.5 m) vertical feet of grade or a walking surface. | 3 | 100 | 3 | None.
| NP | 405.12(b) | (b) Smoking is prohibited in common areas unless otherwise designated as smoking areas. | 3 | 0 |  | None.
|  |  | Total Points Claimed: |  | 216 |  | TOTAL POINTS AWARDED by VERIFIER: | 3 | 3
|  |  | Rating Level Achieved: |  | 4 STARS

## Letter of Approval Summary
| 2020 | Version 1.2.1 Revised October 26, 2022
NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® | © 2019, 2020, 2021 Home Innovation Research Labs, Inc. All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs.
NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard®
SCORING PAGE - NATIONAL GREEN BUILDING STANDARD - LETTER OF DESIGN REVIEW APPROVAL
Project ID:
Developer/Applicant:
Location (with Zip Code) of the Development:
Community Name:
Phase(s) or Section(s) Proposed for Certification:
Provide a brief description below of the development (acres/lots/general description, existing/new, completion date, etc):
Scoring Summary
Chapter 4: Green Subdivision Category | Performance Level Points
| One Star | Two Stars | Three Stars | Four Stars
Site Design and Development | 95 | 122 | 149 | 176
| Points Claimed |  |  | 216
| Points Awarded at Design Review |  |  | 3
Review Summary
To be Completed by the Developer | To be Completed by Verifier
Printed Name: | Review Date:
Date: | Start Time:
Contact Name: | End Time:
Contact Phone: | Printed Name:
Contact Email: | Date:
Verifier Phone:
Verifier Email:

## Completed Dev. Verification
Filters |  |  |  | 2020 |  |  | © 2019, 2020, 2021 Home Innovation Research Labs, Inc. All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs.
Pending | Points |  | NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® |  |  |  | VERIFICATION REPORT - NATIONAL GREEN BUILDING STANDARD - COMPLETED LAND DEVELOPMENT | [5 empty] | Version 1.2.1 Revised October 26, 2022
|  |  | Community Name: | [5 empty] | Project Status:
|  |  | Total Points: | 116 |  |  |  |  | Level Achieved: | 1 STAR
|  | Practice # | Green Building Practices | Points Available | Points Claimed | Points Awarded | Documentation Required | Instructions To Verifier | Info Required | Verifier Notes/Comments | Verification Date(s) | Letter of Approval Comments (if issued) | Developer Notes/Comments
| X | 400 SITE DESIGN AND DEVELOPMENT
| X | 400.0 | 400.0 Intent. This section applies to land development for the eventual construction of buildings or additions thereto that contain dwelling units/sleeping units. The rating earned under Section 302 based on practices herein, applies only to the site as defined in Chapter 2. The buildings on the site achieve a separate rating level or designation by complying with the provisions of Section 303, 304, 305, or 306, as applicable.
| P | 401 LOT SELECTION
| X | 401.0 | 401.0 Intent. The site is selected to minimize environmental impact by one or more of the following:
| NP | 401.1 | 401.1 Infill site. An infill site is selected. | 7 | 0 |  | None. | Visual verification that development site is in an area at least 5 years old. There must be adjacent development on at least one side that was completed by a different developer than the applicant. The site must be served by existing infrastructure, such as centralized water and sewer connections, roads, and drainage. | Explain Infill status:
| NP | 401.2 | 401.2 Greyfield site. A greyfield site is selected. | 7 | 0 |  | Local gov’t documentation that site is classified as greyfield. | Visual verification that development site is in an area at least 5 years old. Site must have been previously developed by a different developer than the applicant. | Explain Greyfield status:”
| NP | 401.3 | 401.3 Brownfield site. A brownfield site is selected. | 8 | 0 |  | EPA map or local gov’t documentation that site is classified as brownfield. | None. | Documentation source:
| P | 402 PROJECT TEAM, MISSION STATEMENT AND GOALS
| X | 402.0 | 402.0 Intent. The site is designed and constructed by a team of qualified professionals trained in green development practices.
| NP | 402.1 | 402.1 Team. A knowledgeable team is established and team member roles are identified with respect to green lot design, preparation, and development. The project’s green goals and objectives are written into a mission statement. | 4 | 0 |  | Mission statement, written team member roles, and specific green responsibility assignments. | Review mission and team roles. Verify all 3 items (statement, roles, and assignments) are included. | List team members:
| NP | 402.2 | 402.2 Training. Training is provided to on-site supervisors and team members regarding the green development practices to be used on the project. | 3 | 0 |  | Written description of training and training schedule for green development practices. | Interview available team members and confirm effective completion of training per plan.
| NP | 402.3 | 402.3 Project checklist. A checklist of green development practices to be used on the project is created, followed, and completed by the project team regarding the site. | Mandatory 4 | 0 |  | Green development practice checklist and current status. | Confirm project specific checklist relates to the green development practices claimed in the report. Review completed checklist.
| NP | 402.4 | 402.4 Development agreements. Through a developer agreement or equivalent, the developer requires purchasers of lots to construct the buildings in compliance with this Standard (or equivalent) certified to a minimum bronze rating level. | 6 | 0 |  | Developer Agreement or Equivalent. | Verify by document review. | Describe Agreement:
| P | 403 SITE DESIGN
| X | 403.0 | 403.0 Intent. The project is designed to avoid detrimental environmental impacts, minimize any unavoidable impacts, and mitigate for those impacts that do occur. The project is designed to minimize environmental impacts and to protect, restore, and enhance the natural features and environmental quality of the site. [To acquire points allocated for the design, the intent of the design is implemented.]
| NP | 403.1 | 403.1 Natural resources. Natural resources are conserved by one or more of the following:
| NP | 403.1(1) | (1) A natural resources inventory is used to create the site plan. | Mandatory 5 | 0 |  | Natural resources inventory for this site. | Visit site and review inventory for appropriateness. Confirm inventory used in site plan creation. Confirm inventory was done by a qualified professional and note name/company in notes column along with top 3 resources. | List top 3 priority resources to preserve:
| NP | 403.1(2) | (2) A plan to protect and maintain priority natural resources/areas during construction is created. (Also see Section 404 for guidance in forming the plan.) | Mandatory 5 | 0 |  | Natural resources protection and maintenance plan. | Visit site and verify protection plan has been effectively implemented and resources protected.
| NP | 403.1(3) | (3) Member of builder’s project team participates in a natural resources conservation program. | 4 | 0 |  | List of team members, program name, and nature of their involvement. | Review documentation and interview team members to verify participation. | Describe participation:
| NP | 403.1(4) | (4) Streets, buildings, and other built features are located to conserve high priority vegetation. | 5 | 0 |  | Site plan showing location of high priority vegetation and locations of proposed improvements. | Visit site and verify conservation of high priority vegetation consistent with plan.
| NP | 403.1(5) | (5) Developer has a plan for removal or containment of invasive plants, as identified by a qualified professional, from the disturbed areas of the site. | 3 | 0 |  | Site plan showing removal or containment of invasive species. | Visit site to verify plan has been implemented for the disturbed areas of the site. | Identify Name/Company and Main Concern:
| NP | 403.1(6) | (6) Developer has a plan for removal or containment of invasive plants, as identified by a qualified professional, on the undisturbed areas of the site. | 6 | 0 |  | Site plan showing removal or containment of invasive species. | Visit site to verify plan has been implemented for the undisturbed areas of the site. | Identify Name/Company and Main Concern:
| NP | 403.2 | 403.2 Building orientation. A minimum of 75 percent of the building sites are designed with the longer dimension of the structure to face within 20 degrees of south | 6 | 0 |  | Identify on the site plan all building sites where the longer dimension of the structure will be within 20 degrees of south. | Verify land development conforms to site plan.
| NP | 403.3 | 403.3 Slope disturbance. Slope disturbance is minimized by one or more of the following:
| NP | 403.3(1) | (1) Hydrological/soil stability study is completed and used to guide the design of all buildings on the site. | 5 | 0 |  | Review report and verify percentage is consistent with site visit observation. | Review study and implementation of appropriate design recommendations. | Steep slope / hydrological study done by:
| NP | 403.3(2) | (2) All or a percentage of roads are aligned with natural topography to reduce cut and fill.
| NP | 403.3(2)(a) | (a) 10 percent to 25 percent | 1 | 0 |  | Engineer's statement or report indicating the percent of roads aligned with natural topography that reduce cut and fill by at least 10% over other alternatives providing a similar number of lots. | Review report and verify percentage is consistent with site visit observation. | Describe nature and extent of slope on total site and steps taken to minimize disturbance: |  |  |  | j
| NP | 403.3(2)(b) | (b) 25 percent to 75 percent | 4
| NP | 403.3(2)(c) | (c) greater than 75 percent | 6
| NP | 403.3(3) | (3) Long-term erosion effects are reduced by the use of clustering, terracing, retaining walls, landscaping, and restabilization techniques. | 6 | 0 |  | Site plan showing erosion control techniques. | Verify by inspection on site that items implemented meet the intent to reduce long-term erosion. | Describe steps taken to reduce erosion:
| NP | 403.4 | 403.4 Soil disturbance and erosion. A site Stormwater Pollution Prevention Plan (SWPPP) is developed in accordance with applicable stormwater Construction General Permits. The plan includes one or more of the following:
| NP | 403.4(1) | (1) Construction activities are scheduled to minimize length of time that soils are exposed. | 4 | 0 |  | Scheduling documentation showing steps taken to minimize soil exposure. | Verify by documentation review and site visit. Confirm that the project is adhering to the schedule. | Describe steps taken to minimize exposure:
| NP | 403.4(2) | (2) Utilities are installed by alternate means such as directional boring in lieu of open-cut trenching. Shared easements or common utility trenches are utilized to minimize earth disturbance. Low ground pressure equipment or temporary matting is used to minimize excessive soil consolidation. | 5 | 0 |  | Utility construction plans showing boring, common utility trenches, and/or shared easements needed to reduce soil disruption and erosion. Scope of work of utility contractors requiring measures to minimize excessive soil compaction. | Verify by observation to the extent possible. Interview the site supervisor for additional confirmation. This must be done for all heavy equipment used on the lot throughout the construction process. | Describe alternate utility approaches taken:
| NP | 403.4(3) | (3) Limits of clearing and grading are demarcated. | 4 | 0 |  | Site specific development plan showing limits of clearing and grading. | Verify by inspection that limits are marked on-site in accordance with the plan.
| P | 403.5 | 403.5 Stormwater management. The stormwater management system is designed to use low-impact development/green infrastructure practices to preserve, restore or mitigate changes in site hydrology due to land disturbance and the construction of impermeable surfaces through the use of one or more of the following techniques:
| NP | 403.5(1) | (1) A site assessment is conducted and a plan prepared and implemented that identifies important existing permeable soils, natural drainage ways and other water features, e.g., depressional storage, onsite to be preserved in order to maintain site hydrology. | 7 | 0 |  | Site specific development plan showing how natural water and drainage features are preserved and used. | None. | Describe natural features used for stormwater management:
| P | 403.5(2) | (2) A hydrologic analysis is conducted that results in the design and installation of a stormwater management system that maintains the predevelopment (stable, natural) runoff hydrology of the site through the development or redevelopment process. Ensure that post construction runoff rate, volume and duration do not exceed predevelopment rates, volume and duration. | 10 | 10 |  | Site specific storm water management plan that minimizes concentrated flows and uses vegetative swales, French drains, wetlands, drywells, rain gardens and/or other similar features. | None.
| NP | 403.5(3) | (3) Low-Impact Development/Green infrastructure stormwater management practices to promote infiltration and evapotranspiration are used to manage rainfall on the lot and prevent the off-lot discharge of runoff from all storms up to and including the volume of following storm events:
| NP | 403.5(3)(a) | (a) 80th percentile storm event | 5 | 0 |  | Stormwater Management Plan with engineer's calculation for 80th, 90th, or 95th percentile storm. | Verify stormwater plan is implemented. | Developer's calculated % of permeable materials used: |  |  |  | 0%
| NP | 403.5(3)(b) | (b) 90th percentile storm event | 8
| NP | 403.5(3)(c) | (c) 95th percentile storm event | 10
| NP | 403.5(4) | (4) Permeable materials are used for driveways, parking areas, walkways and patios according to the following percentages: [Points for vegetative paving systems are only awarded for location receiving more than 20 inches per year of annual average precipitation]
| NP | 403.5(4)(a) | (a) 10 percent to less than 25 percent (add 2 points for use of vegetative paving system) | 2 | 0 |  | Site specific development plan delineating areas of roads, driveways, parking areas, walkways, and patios. Includes identification of all locations of permeable materials & type. Includes calculation showing percentage of permeable materials used. | Verify by inspection that percentage of permeable surface is consistent with points claimed. Percent is based on total hardscaped surface. | Developer's calculated % of permeable materials used: |  |  |  | 0%
| NP | 403.5(4)(b) | (b) 25-50 percent (add 4 points for use of vegetative paving system) | 5
| NP | 403.5(4)(c) | (c) greater than 50 percent (add 6 points for use of vegetative paving system) | 10
| NP | 403.6 | 403.6 Landscape plan. A landscape plan is developed to limit water and energy use in common areas while preserving or enhancing the natural environment utilizing one or more of the following:
| NP | 403.6(1) | (1) A plan is formulated to restore or enhance natural vegetation that is cleared during construction. Landscaping is phased to coincide with achievement of final grades to ensure denuded areas are quickly vegetated. | 6 | 0 |  | Site specific landscaping plan identifies areas to be restored/enhanced. Evidence that landscaping is scheduled to occur reasonably soon after achievement of final site grades. | Verify by review of landscape plan and construction schedule. Confirm that activities are on schedule during any site visit. | Describe landscape plans including extent of areas to be landscaped:
| NP | 403.6(2) | (2) On-site native or regionally appropriate trees and shrubs are conserved, maintained, and reused for landscaping to the greatest extent possible. | 6 | 0 |  | Site specific landscaping plan that indicates which trees and/or vegetation are conserved or to be re-used. | Verify by inspection that landscaping plan was executed. | [5 empty] | 0
| NP | 403.6(3) | (3) Non–invasive vegetation that is native or regionally appropriate for local growing conditions is selected to promote biodiversity. | 7 | 0 |  | Site specific landscaping plan specifying native/regionally appropriate grass, trees, & other vegetation to be used. | Verify by inspection that planted species are appropriate. Check against available local and/or state invasive plant lists.
| NP | 403.6(4) | (4) EPA WaterSense Water Budget Tool or equivalent is used when implementing the site vegetative design. | 10 | 0 |  | Completed EPA WaterSense Water Budget Tool (Excel or PDF). | Verify by inspection that turf area is consistent with the calculation and appropriate points claimed.
| NP | 403.6(5) | (5) Where turf is being planted, Turfgrass Water Conservation Alliance (TWCA) or equivalent third-party qualified water efficient grasses are used. | 6 | 0 |  | Evidence that TWCA or equivalent grasses were selected and installed. | Verify by document review and inspection of turf planted.
| NP | 403.6(6) | (6) For landscaped vegetated areas, the maximum percentage of all turf areas is:
| NP | 403.6(6)(a) | (a) 0 percent | 10 | 0 |  | Calculated total of turf areas as a percentage of the entire landscaped area of the site development or WaterSense Budget Tool | Verify by document review and inspection. Confirm that the calculated percentage is appropriate. | Developer's calculated % of turf area =
| NP | 403.6(6)(b) | (b) Greater than 0 percent to less than 20 percent | 8
| NP | 403.6(6)(c) | (c) 20 percent to less than 40 percent | 6
| NP | 403.6(6)(d) | (d) 40 percent to 60 percent | 4
| NP | 403.6(7) | (7) To improve pollinator habitat, at least 10 percent of planted areas are composed of flowering and nectar producing plant species. Invasive plant species shall not be utilized. | 6 | 0 |  | Plan with locations/types of plants, showing flowering and nectar producing species. | Verify by documentation review and inspection.
| NP | 403.6(8) | (8) Non-potable irrigation water is available to common areas | 2 | 0 |  | None. | Verify by plan/documentation review and inspection.
| NP | 403.6(9) | (9) Non-potable irrigation water is available to lots. | 4 | 0 |  | None. | Verify by documentation review and inspection.
| NP | 403.6(10) | (10) Plants with similar watering needs are grouped (hydrozoning). | 4 | 0 |  | Plan with locations/types of plants, showing that plants are grouped based on watering needs. | Verify by documentation review and inspection.
| NP | 403.6(11) | (11) Species and locations for tree planting are identified and utilized to increase summer shading of streets, parking areas, and buildings and to moderate temperatures. | 5 | 0 |  | Plan with locations and species of trees intended to provide summer shading of streets, parking areas and buildings. | Verify by documentation review.
| NP | 403.6(12) | (12) Vegetative wind breaks or channels are designed as appropriate to local conditions. | 4 | 0 |  | Site specific landscaping plan showing the location of vegetative wind breaks. | Verify by documentation review.
| NP | 403.6(13) | (13) On-site tree trimmings or stump grinding of regionally appropriate trees are used to provide protective mulch during construction or as base for walking trails, and cleared trees are recycled as sawn lumber or pulp wood.' | 4 | 0 |  | Construction and Demolition Plan for this development that indicates how and when tree trimmings and other clearing debris will be re-used. | Verify by documentation review and inspection.
| NP | 403.6(14) | (14) An integrated common area pest management plan to minimize chemical use in pesticides and fertilizers is developed. | 4 | 0 |  | Documented pest management plan minimizing use of pesticides & fertilizers to control pests and unwanted vegetation. | Verify by documentation review.
| NP | 403.6(15) | (15) Plans for the common area landscape watering system include a weather-based or soil moisture-based controller. Required irrigation systems are designed in accordance with the IA Landscape Irrigation Best Management Practices. | 6 | 0 |  | Plans/documentation for watering system per the practice designed per the Irrigation Association’s Turf and Landscape Best Management Practices. | Verify by documentation review that plans are in accordance with IA’s 2014 Landscape Irrigation Best Management Practices
| NP | 403.6(16) | (16) Trees that might otherwise be lost due to site construction are transplanted to other areas on-site or off-site using tree-transplanting techniques to ensure a high rate of survival. | 4 | 0 |  | Site Construction plan showing trees to be transplanted and techniques. | Verify by documentation review and inspection if transplanted on-site.
| NP | 403.6(17) | (17) Gray water irrigation systems are used to water common areas. Gray water used for irrigation conforms to all criteria of Section 802.1. | 7 | 0 |  | Irrigation Plan showing gray water distribution areas. | Verify by documentation review.
| NP | 403.6(18) | (18) Cisterns, rain barrels, and similar tanks are designed to intercept and store runoff. These systems may be above or below ground, and they may drain by gravity or be pumped. Stored water may be slowly released to a pervious area, and/or used for irrigation of lawn, trees, and gardens located in common areas. | 6 | 0 |  | Site plan showing the locations of the wate collection devices or sytems. | Verify by inspection if above ground; by documentation review if below ground.
| NP | 403.6(19) | (19) Spray irrigation
| NP | 403.6(19)(a) | (a) Is not present on slopes steeper than 25% (i.e., where the land rises more than a foot vertically for every 4 feet horizontally). | 2 | 0 |  | Irrigation plan or other documentation showing installation locations and product specifications of irrigation systems. | Verify by inspection. Low head drainage occurs when the sprinkler system is installed on a sloped area. The slope does not need to be very high, a change of elevation of less than a foot can create low head drainage. After the sprinklers are turned off, the water in the pipes drains out through the lowest sprinkler heads and is replaced with air. The easiest way to tell if a site has low head drainage is to watch the sprinklers when turned on. If they spit and spew lots of air when the valve is turned on, there is a low head drainage problem. Obviously, the water that drains out of the pipes is wasted. The spewing and spitting of air every time you turn on the sprinklers also puts a lot of stress on the pipe and sprinklers. | Describe irrigation system:
| NP | 403.6(19)(b) | (b) Has been tested in accordance with the ASABE/ICC 802, “Landscape Irrigation Sprinkler and Emitter Standard” and there is documentation of the sprinklers achieving a lower quarter distribution uniformity of at least 0.65. | 2 | 0
| NP | 403.6(19)(c) | (c) Is installed to eliminate low head/point drainage and runoff. | 2 | 0
| NP | 403.6(19)(d) | (d) Spray irrigation is not used | 6 | 0 |  | None.
| NP | 403.7 | 403.7 Wildlife habitat. Measures are planned that will support wildlife habitat.
| NP | 403.7(1) | (1) Measures are planned that will support wildlife habitat. | 6 | 0 |  | Documentation in the site development plans for the location and type of wildlife habitat support measures. | Verify by inspection that the planned measures have been implemented. | Describe steps taken to support wildlife:
| NP | 403.7(2) | (2) The site is adjacent to a wildlife corridor, fish and game park, or preserved areas and is designed with regard for this relationship. | 3 | 0
| NP | 403.7(3) | (3) Outdoor lighting techniques are utilized with regard for wildlife. | 3 | 0 |  | Documentation showing outdoor lighting plan with regard to wildlife.
| NP | 403.8 | 403.8 Operation and maintenance plan. An operation and maintenance plan (manual) is prepared and outlines ongoing service of common open area, utilities (storm water, waste water), and environmental management activities. | 6 | 0 |  | Operation and maintenance manual. |  | Describe extent of plan and who has responsibility for the ongoing implementation:
| NP | 403.9 | 403.9 Existing buildings. Following mitigation of any harmful materials, existing building(s) and structure(s) is/are preserved and reused, adapted, or disassembled for reuse or recycling of building materials.
| NP | 403.9(1) | (1) Building reuse or adaptation. | 12 | 0 |  | Site development plan identifying all existing buildings and structures that are to be preserved, re-used, modified, or disassembled for re-use or recycling of bldg materials. | Verify by inspection. Number and size of existing buildings that are preserved should be proportional to the size of the development. | Describe existing structures that have been reused:
| NP | 403.9(2) | (2) Disassemble for reuse or recycling of building materials. | 10 | 0
| NP | 403.10 | 403.10 Existing and recycled materials. Existing pavements, curbs, and aggregates are salvaged and reincorporated into the development or recycled asphalt or concrete materials are used as follows. (Points awarded for every 10 percent of total building materials that are reused, deconstructed, and/or salvaged. The percentage is consistently calculated on a weight, volume, or cost basis.) 15 points MAX
| NP | 403.10(1) | (1) Existing pavements, curbs, and aggregates are reincorporated into the development. | 3 | 0 |  | (15 points MAX) Tabulation of all existing or recycled pavement, curbs, asphalt, concrete, and aggregates salvaged or reincorporated as a percentage of the project total for all pavements, curbs, and aggregates. The percentage of each type of materials can be combined; the percentage should be rounded down to the nearest 10% to determine the points. | Verify by documentation review. Percentages of each type can be combined for total percent of material qualifying for this practice. Round down to the nearest 10%. Confirm during any applicable site visit that the practice is being implemented.
| NP | 403.10(2) | (2) Recycled asphalt or concrete with at least 50 percent recycled content is utilized in the project. | 2 | 0
| P | 403.11 | 403.11 A demolition waste management plan is developed, posted at the jobsite, and implemented to recycle and/or salvage for reuse a minimum of 50 percent of the nonhazardous demolition waste. [One additional point awarded for every 10 percent of nonhazardous demolition waste recycled and/or salvaged beyond 50 percent.]
| P |  | (One additional point awarded for every 10 percent of nonhazardous demolition waste recycled and/or salvaged beyond 50 percent). | 5 10 max | 10 |  | Demolition wate management plan showing reuse of at least 50% of nonhazardous demolition waste. | Verify by documentation review.
| P | 403.12 | 403.12 Environmentally sensitive areas. Environmentally sensitive areas as follows:
| P | 403.12(1) | (1) Environmentally sensitive areas are avoided as follows:
| NP | 403.12(1)(a) | (a) <25 percent of environmentally sensitive areas left undeveloped | 2 | 0 |  | Site plan showing locations/description of environmentally sensitive areas to be avoided. | Verify by document review and inspection. Points are not appropriate if there are no sensitive areas on the site. Check the Chapter 2 definition of environmentally sensitive areas to ensure the areas on site meet the definition. | Describe size/type of area avoided:
| NP | 403.12(1)(b) | (b) 25 percent – 75 percent of environmentally sensitive areas left undeveloped | 4
| NP | 403.12(1)(c) | (c) >75 percent of environmentally sensitive areas left undeveloped | 7
| P | 403.12(2) | (2) Compromised environmentally sensitive areas are mitigated or restored. | 10 | 10 |  | Plan showing locations of compromised environmentally sensitive areas that have been mitigated or restored. Before and after photos. | Verify by document review and inspection. The area and type of mitigation/restoration should be proportional to the size of the development and consistent with awarding 4 points for this practice. Points are not awarded for developer-caused damage unless the restoration goes above and beyond minimum requirements.
| P | 404 SITE DEVELOPMENT AND CONSTRUCTION
| X | 404.0 | 404.0 Intent. Environmental impact during construction is avoided to the extent possible; impacts that do occur are minimized, and any significant impacts are mitigated.
| NP | 404.1 | 404.1 On-site supervision and coordination. On-site supervision and coordination is provided during clearing, grading, trenching, paving, and installation of utilities to ensure that specified green development practices are implemented. (also see Section 403.4) | 5 | 0 |  | Daily log showing consistency of on-site supervision. | Verify by documentation review and interview with site superintendent. | Supervisor's name:
| NP | 404.2 | 404.2 Trees and vegetation. Designated trees and vegetation are preserved by one or more of the following:
| NP | 404.2(1) | (1) Fencing or equivalent is installed to protect trees and other vegetation. | 4 | 0 |  | None | Verify by inspection during any appropriate site visit. | Describe steps taken:
| NP | 404.2(2) | (2) Trenching, significant changes in grade, compaction of soil, and other activities are avoided in critical root zones (canopy drip line) in “tree save” areas. | 5 | 0 |  | None | Verify by inspection during any appropriate site visit. | Describe steps taken:
| NP | 404.2(3) | (3) Damage to designated existing trees and vegetation is mitigated during construction through pruning, root pruning, fertilizing, and watering. | 4 | 0 |  | Pruning, root pruning, fertilizing, and watering invoices. | Pruning, root pruning, fertilizing, and watering invoices. Verify by document review. | Describe steps taken:
| NP | 404.3 | 404.3 Soil disturbance and erosion. On-site soil disturbance and erosion are minimized by implementation of one or more of the following:
| NP | 404.3(1) | (1) Limits of clearing and grading are staked out prior to construction. | 5 | 0 |  | None | Verify by inspection.
| NP | 404.3(2) | (2) “No disturbance” zones are created using fencing or flagging to protect vegetation and sensitive areas from construction vehicles, material storage, and washout. | 4 | 0 |  | None
| NP | 404.3(3) | (3) Sediment and erosion controls are installed and maintained. | 5 | 0 |  | Approved sediment and erosion control plan. | Approved sediment and erosion control plan. Verify by documentation review and inspection. | Describe steps taken:
| NP | 404.3(4) | (4) Topsoil is stockpiled and covered with tarps, straw, mulch, chipped wood, vegetative cover, or other means capable of protecting it from erosion for later use to establish landscape plantings. | 5 | 0 |  | None | Verify by inspection during any appropriate site visit.
| NP | 404.3(5) | (5) Soil compaction from construction equipment is reduced by distributing the weight of the equipment over a larger area by laying lightweight geogrids, mulch, chipped wood, plywood, OSB (oriented strand board), metal plates, or other materials capable of weight distribution in the pathway of the equipment | 4 | 0 |  | Scopes of work or contract documents that require soil compaction reducing measures on the site. | Scopes of work or contract documents that require soil compaction reducing measures on the site. Verify by documentation | Describe steps taken to meet this practice:
| NP | 404.3(6) | (6) Disturbed areas are stabilized within the EPA-recommended 14-day period. | 4 | 0 |  | Development schedule showing stabilization of disturbed areas within 14 days. | Development schedule showing stabilization of disturbed areas within 14 days. Verify by documentation review of schedule and by inspection during any appropriate site visit.
| NP | 404.3(7) | (7) Soil is improved with organic amendments and mulch. | 4 | 0 |  | Scopes of work or contract documents that requires improving soil with organic amendments and mulch. | When possible verify soil has been amended as planned. | Describe steps taken:
| NP | 404.4 | 404.4 Wildlife habitat. Measures are implemented to support wildlife habitat.
| NP | 404.4(1) | (1) Wildlife habitat is maintained. | 5 | 0 |  | Site development plan showing habitat areas to be maintained. | Verify by inspection. | Describe steps taken:
| NP | 404.4(2) | (2) Measures are instituted to establish or promote wildlife habitat. | 5 | 0 |  | List of measures to be instituted to establish or promote wildlife habitat. |  | Describe steps taken:
| NP | 404.4(3) | (3) Open space is preserved as part of a wildlife corridor. | 6 | 0 |  | Site development plan showing open space corridors to be preserved.
| NP | 404.4(4) | (4) Builder or member of builder’s project team participates in a wildlife conservation program. | 5 | 0 |  | Documentation about team member’s participation in wildlife conservation programs. |  | List Team member(s) participating & program:
| P | 405 INNOVATIVE PRACTICES
| X | 405.0 | 405.0 Intent. Innovative site design, preparation, and development practices are used to enhance environmental performance. Waivers or variances from local development regulations are obtained, and innovative zoning practices are used to implement such practices, as applicable.
| P | 405.1 | 405.1 Driveways and parking areas. Driveways and parking areas are minimized or mitigated by one or more of the following:
| NP | 405.1(1) | (1) Off-street parking areas are shared or driveways are shared; on-street parking is utilized; and alleys (shared common area driveways) are used for rear-loaded garages. | 5 | 0 |  | Site development plans showing shared driveways in single family areas and/or calculation showing parking provided for multi-family does not exceed local requirements. Plan shows location of structured parking. | Verify by inspection.
| NP | 405.1(2) | (2) In multifamily projects, parking capacity is not to exceed the local minimum requirements. | 5 | 0 |  |  | Verify by inspection and local requirements.
| P | 405.1(3) | (3) Structured parking is utilized to reduce the footprint of surface parking areas.
| P | 405.1(3)(a) | (a) 25 percent to less than 50 percent reduction | 3 | 8 |  | Site development plans showing shared driveways in single family areas and/or calculation showing parking provided for multi-family does not exceed local requirements. Plan shows location of structured parking. | Verify by inspection.
| P | 405.1(3)(b) | (b) 50 percent to 75 percent reduction | 5
| P | 405.1(3)(c) | (c) greater than 75 percent reduction | 8
| P | 405.2 | 405.2 Street widths.
| P | 405.2(1) | (1) Street pavement widths are minimized per local code and are in accordance with the table below: Collector street with parking (one side only) - 31 ft Collector street without parking - 26 ft Local access with parking (one side only) - 27 ft Local access street without parking - 20 ft Queuing (one-lane) streets with parking - 24 ft Alleys & queuing (one-lane) streets without parking-17ft For SI: 1 foot = 304.8 mm | 6 | 6 |  | Site development plan showing widths of collector streets, local access streets, & queuing streets with & without parking are consistent with maximum widths shown in table. | Verify by inspection.
| P | 405.2(2) | (2) A waiver was secured by the developer from the local jurisdiction to allow for construction of streets below minimum width requirement. | 8 | 8 |  | Waiver from local jurisdiction. | Verify by documentation review and inspection.
| P | 405.3 | 405.3 Cluster development. Cluster development. Cluster development enables and encourages flexibility of design and development of land in such a manner as to preserve the natural and scenic qualities of the site by utilizing an alternative method for the layout, configuration and design of lots, buildings and structures, roads, utility lines and other infrastructure, parks, and landscaping. | 10 | 10 |  | Site plan with explanation of how the natural and scenic qualities were preserved. | Verify by document review. The extent of the preservation should be consistent with the size of the development and appropriate for 10 points.
| P | 405.4 | 405.4 Planning. Innovative zoning techniques are implemented in accordance with the following:
| P | 405.4(1) | (1) Innovative planning techniques are used or developed for permissible adjustments to population density, area, height, open space, mixed-use, or other provisions for the specific purpose of open space, natural resource preservation or protection and/or mass transit usage. Other innovative planning techniques may be considered on a case-by-case basis. | 10 | 10 |  | Evidence of development ordinance, waivers, or variances approved by the local jurisdiction. | Evidence of development ordinance, waivers, or variances approved by the local jurisdiction. | Describe steps taken to meet this practice:
| P | 405.4(2) | (2) Provide common or public spaces of a minimum of 1/6 acre that are within ¼ mile walk to 80 percent of planned and existing units and entrances to non-residential buildings. Both existing and newly constructed squares, parks, paseos, plazas, and similar uses qualify under this criterion. | 10 | 10 |  | Statement and site plan from qualified professional that environmental effects were minimized and infrastructure is available and adequate. | Verify by documentation review. | Describe steps taken to meet this practice:
| P | 405.5 | 405.5 Wetlands. Constructed wetlands or other natural innovative wastewater or stormwater treatment technologies are used. | 8 | 8 |  | Plans showing constructed wetlands or other innovative wastewater technologies and documentation that a qualified contractor completed an approved installation. | Verify by inspection and document review. The extent of the constructed wetlands or innovative approach should be consistent with the size of the development and appropriate for 8 points. | Describe steps taken to meet this practice:
| P | 405.6 | 405.6 Multi-modal transportation. Multi-modal transportation access is provided in accordance with one or more of the following:
| NP | 405.6(1) | (1) A site is selected with a boundary within one-half mile (805 m) of pedestrian access to a mass transit system or within five miles of a mass transit station with available parking. | 5 | 0 |  | Map that defines distance to pedestrian access to mass transit system or distance to nearest mass transit station with available parking. | Verify by documentation review and inspection. | List distance to mass transit and Name/type of mass transit
| NP | 405.6(2) | (2) A site is selected where all lots within the site are located within one-half mile (805 m) of pedestrian access to a mass transit system. | 7 | 0
| P | 405.6(3) | (3) A system of walkways, bikeways, street crossings, or pathways designed to promote connectivity to existing and planned community amenities are provided.
| NP | 405.6(3)(a) | (a) Create a network of sidewalks and paths that provide a minimum level of connectivity of at least 90 bikeway or pathway intersections per square mile. | 5 | 0 |  | Walkway and bikeway plan on site development plan and show connections to local area network. | Verify by documentation review and inspection.
| P | 405.6(3)(b) | (b) Create a network of sidewalks and paths that provide a minimum level of connectivity of at least 140 bikeway or pathway intersections per square mile. | 10 | 10
| NP | 405.6(4) | (4) Dedicated bicycle parking and racks are indicated on the site plan and a minimum of six spaces are constructed for, multifamily buildings, and/or each developed common area. [*1 point for each 6 spaces] | 1 6 MAX | 0 |  | Site plan showing bike parking installations. | Verify by inspection that bike parking and racks are installed appropriately.
| NP | 405.6(5) | (5) Bike sharing programs participate with the developer and facilities for bike sharing are planned for and constructed. | 5 | 0 |  | Evidence of particpation in sharing programs. | Verify by documentation review. | Name of sharing program(s):
| NP | 405.6(6) | (6) Car sharing programs participate with the developer and facilities for bike sharing are planned for and constructed. | 5 | 0 |  |  | Verify by documentation review.
| NP | 405.6(7) | (7) A site is selected within a census block group that, compared to its region, has above-average transit access to employment as calculated using the Transit Access Measures within the EPA’s Smart Location Database:
| NP | 405.6(7)(a) | (a) Access is within the top quartile for the region | 10 | 0 |  | Documentation from EPA Smart Location Database showing transit access quartile. |  | Describe transit access:
| NP | 405.6(7)(b) | (b) Access is within the second quartile for the region | 4 | 0
| NP | 405.6(8) | (8) A site is selected within a census block group that, compared to its region, has above-average access to employment within a 45-minute drive as calculated using EPA’s Smart Location Database:
| NP | 405.6(8)(a) | (a) Access is within the top quartile for the region | 6 | 0 |  | Documentation from EPA Smart Location Database showing employment access quartile. |  | Describe employment opportunties:
| NP | 405.6(8)(b) | (b) Access is within the second quartile for the region | 2 | 0
| NP | 405.7 | 405.7 Density. The average density on a net developable area basis is:
| NP | 405.7(a) | (1) 7 to less than 14 dwelling units per acre (per 4,047 m2) | 5 | 0 |  | Planner's calculation of density. | Verify by documentation review and confirm calculation appears to be appropriate via site inspection. | Net Developable Acres = |  |  |  | 0
| NP | 405.7(b) | (2) 14 to less than 21 dwelling units per acre (per 4,047 m2) | 7 |  |  |  |  | 0
| NP | 405.7(c) | (3) 21 or greater dwelling units per acre (per 4,047 m2) | 10 |  |  |  |  | Dwelling Units: |  |  |  | 0
| NP | 405.8 | 405.8 Mixed-use development. (1) Mixed-use development is incorporated, or (2) for single-use sites 20 acres or less in size, 80% of the units are within ½ mile walk of 5 non-residential uses and where a system of walkways, bikeways, street crossings or pathways is designed to promote connectivity to those uses. | 9 | 0 |  | None. | Verify by inspection.
| NP | 405.9 | 405.9 Open space. The community is situated within 1/2 mile of an area of open space available to the public or a portion of the gross area of the community is set aside as open space. [Points awarded for every 10 percent of the community set aside as open space. If open space outside of the community is included, a maximum of 3 points are awarded.] | 9 MAX | 0 |  | Calculation showing percent of area set aside. | Planner’s calculation of area set aside. Verify by documentation review and confirm calculation appears to be appropriate via site inspection. | Total Community Acreage = |  |  |  | 0
| NP | [7 empty] | 0 |  |  |  | Your selection doesn't match the square footage calculation for points
| NP | [7 empty] | Qualifying Open Space Acreage = |  |  |  | 0
| NP | 405.10 | 405.10 Community garden(s). A portion of the site is established as a community garden(s) for the residents of the site to provide local food production for residents or area consumers.
| NP | 405.10(a) | (a) A portion of the site of at least 250 sq ft is established as a community garden(s) for the residents of the site. [*1 point per 250 sq ft] | 1 Max 3 | 0 |  | Site plan showing designated area(s) for community garden. | Verify by document review and inspection, if possible. If the garden has not been planted it should be distinctively marked, such as with a fence, and the ground level. Signage would also be appropriate. The size of the garden should be appropriate to the size and planned population of the community.
| NP | 405.10(b) | (b) Areas and physical provisions are provided for composting | 1 | 0 |  | None.
| NP | 405.10(c) | (c) Signs designating the garden are posted | 1 | 0 |  | None.
| P | 405.11 | 405.11 The site is designed to mitigate hazards from insect born disease. [To acquire points the site must be documented to be at risk by an epidemiologist or qualified professional]
| P | 405.11(a) | (a) Dense plant beds, shrubbery and woody plants are not planted within 5 feet (1.5 m) of occupied buildings. | 6 | 6 |  | Site plan showing vegetation to be installed near buildings. | Verify by inspection that landscape plan was implemented.
| P | 405.11(b) | (b) A minimum of a 5 foot (1.5 m) border of paving, mulch, bare earth, or turfgrass is provided between woods or weedy areas and people trafficked or occupied areas, including playgrounds and dog parks. | 5 | 5 |  | Site plan showing paving, mulch, bare earth, and/or turfgrass.
| NP | 405.11(c) | (c) Vegetation that is attractive to deer, as documented by a qualified professional, is not planted within 20 feet (6 m) of buildings. | 3 | 0 |  | Site plan showing vegetation to be installed near buildings.
| P | 405.11(d) | (d) Paths or trails maintained through natural or non-maintained areas are a minimum of 5 feet wide (1.5 m). | 3 | 3 |  | Site plan showing planned paths and trails.
| P | 405.11(e) | (e) Conditions that are favorable to mosquito breeding, such as standing water, are not present on site. | 2 | 2 |  | None.
| NP | 405.12 | 405.12 Signs are provided prohibiting smoking at the following locations:
| NP | 405.12(a) | (a) Smoking is prohibited within 25 feet (7.5 m) of all building exterior doors and operable windows or building air intakes within 15 (4.5 m) vertical feet of grade or a walking surface. | 3 | 0 | 3 | None. | Verify by inspection that signs have been installed.
| NP | 405.12(b) | (b) Smoking is prohibited in common areas unless otherwise designated as smoking areas. | 3 | 0 | 3 | None.
|  |  | Total Points Claimed: |  | 116 |  | TOTAL POINTS AWARDED by VERIFIER: | 6
|  |  | Rating Level Achieved: |  | 1 STAR

## Project Summary
| 2020 | Version 1.2.1 Revised October 26, 2022
NGBS Scoring for LAND DEVELOPMENT ICC 700-2020 National Green Building Standard® | © 2019, 2020, 2021 Home Innovation Research Labs, Inc. All rights reserved. This document is protected by U.S. copyright law. Requirements from ICC 700-2020 National Green Building Standard® © 2020 National Association of Home Builders of the U.S. - used by permission. Home Innovation authorizes use of this document only by those individuals/organizations participating in Home Innovation's Green Building Certification and solely for purpose of seeking project certification from the Home Innovation Research Labs.
SCORING PAGE - NATIONAL GREEN BUILDING STANDARD - COMPLETED DEVELOPMENT
Project ID:
Developer:
City, State:
Community Name:
Phase(s) or Section(s) Proposed for Certification:
Provide a brief description below of the development (acres/lots/general description, existing/new, completion date, etc):
Scoring Summary
Chapter 4: Green Subdivision Category | Performance Level Points
| One Star | Two Stars | Three stars | Four Stars
Site Design and Development | 95 | 122 | 149 | 176
| Points Claimed |  |  | 116
| Points Awarded at Final/Field Inspection |  |  | 6
Final Field Inspection Summary
To be Completed by the Developer | To be Completed by Verifier
Printed Name: | List Inspection: | 1st Visit | 2nd Visit | 3rd Visit
Date: | Date:
Contact Name: | Time:
Contact Phone: | Printed Name:
Contact Email: | Date:
Verifier Phone:
Verifier Email:

## Errata
Version | Release Date | Correction
1.2.1 | 2022-10-26 | Added Version Number to tabs. Added Project ID to 'Start Here', 'Letter of Approval Summary", and ‘Project Summary’ tabs.
1.1.1 | 2022-01-07 | Updated formatting and information for the AXIS transition
1.0.2 | 2021-08-06 | Tweaked the calculations for 405.9
1.0.1 | 2021-01-26 | Backend fixes to show "Total Points Awarded by Verifier" column
1.0.0 | 2020-04-15 | Initial Release

## Dropdowns (hidden)
Dropdown1
New Subdivision - planning complete - seeking Letter of Approval
Existing In-Progress Subdivision - seeking Letter of Approval
New Subdivision - development complete - seeking Certification
Existing In-Progress Subdivision - seeking Cerrtification